## O&M Spare Part
C&C Warehouse
Stock Ledger | E & M (Sub Dept)
Item Code (Brand) | Item Name | IMIS CODE | U/M | Stock Received from Warehouse (20-7/23) | Consumed | In-stock
1.5mm / S-C | Cable 1.5 mm / Single Core 450/750-Volt (Red) | 003-0010-07-010006 | MTR | 805 |  | 805
10 mm / S-C | Cable 10 mm / Single Core 450/750-V (Red) | 003-0010-07-010002 | MTR | 1000 |  | 1000
2.5 mm / S-C | Cable 2.5 mm / Single Core 450/750-V (Green) | 003-0010-07-010005 | MTR | 1000 |  | 1000
4 mm / S-C | Cable 4.0 mm / Single Core (Yellow) | 003-0010-07-010004 | MTR | 1000 |  | 1000
6 mm + 4 mm | Mix Size Cable 6 mm / 3-Core + Cable 4 mm / 2-C | 003-0010-07-010001 | MTR | 500 |  | 500
CH | Alken CH Cool | 003-0011-00-011019 | Ltr | 120 |  | 120
SP-100 | Descaler SP-100 | 003-0011-00-011020 | Ltr | 450 |  | 450
330 ML | Rust Remover WD40 (Multi Use) | 003-0000-00-000038 | No.s | 120 |  | 120
Crystal RTV | Silicon Sealent 300- Grm | 003-0011-31-011044 | No.s | 0 |  | 0
Yellow | Electrical Insulation Tape 10M | 003-0009-08-009003 | No.s | 0 |  | 0
Green | Electrical Insulation Tape 10M | 003-0009-08-009004 | No.s | 0 |  | 0
Black | Electrical Insulation Tape 10M | 003-0009-08-009006 | No.s | 30 |  | 30
Red | Electrical Insulation Tape 10M | 003-0009-08-009007 | No.s | 30 |  | 30
| Refrigrant Gas R-410 (Honey Well) | 003-0000-33-000141 | Kgs | 114 |  | 114
10-Amp | Power Socket 10-A (85 X 85mm) | 011-0005-00-005001 | No.s | 0 |  | 0
16-Amp | Power Socket 16-A (85 X 85mm) | 011-0005-00-005002 | No.s | 100 |  | 100
12-Watt | Round Ceiling Light Public Area 6" (12-W) | 011-0007-00-007002 | No.s | 0 |  | 0
24-Watt | Energy Saver / Bulb Light (24-W) | 011-0007-09-007001 | No.s | 122 |  | 122
| LED Light Driver of Square Panel Light | 011-0008-00-008001 | No.s | 1400 |  | 1400
18" x 2" (7-24Watt) | Driver Of Washroom LED Light 18" X 2" | 011-0008-00-008003 | No.s | 255 |  | 255
36-Watt | Tube Light Driver Standard Size | 011-0008-00-008004 | No.s | 366 |  | 366
36-Watt | Ceiling Light Driver Double Fixture (36-W) | 011-0008-00-008006 | No.s | 246 |  | 246
5-mm x 1-MTR | SS Rod Dia 5-mm x 1-MTR, | 003-0000-00-030014 | No.s | 64 |  | 64
5-mm x 1.5-MTR | SS Rod Dia 5-mm x 1.5-MTR, | 003-0000-00-030015 | No.s | 32 |  | 32
0.91-LTR | Red Oxide Primer | 003-0018-32-030016 | No.s | 0 |  | 0
40-CM | Water Hose | 003-0037-37-003706 | No.s | 0 |  | 0
60-CM | Water Hose | 003-0037-37-003707 | No.s | 0 |  | 0
Size-1/2" | Angle Valve / Water Stop Shutup Dia 1/2" | 003-0037-37-003709 | No.s | 20 |  | 20
Size-1/2" | Bib Tap | 003-0037-37-003710 | No.s | 22 |  | 22
Size-1/2" | Wash Bason Tap Dia 1/2" | 003-0037-37-003711 | No.s | 24 |  | 24
None | Electric Faucet Actuator | 003-0037-37-003704 | No.s | 46 |  | 46
None | Automatic Faucet with infrared Sensor | 003-0037-37-003705 | No.s | 0 |  | 0
None | Angle Valve / ball valve 3/4 | 003-0000-00-000155 | No.s | 0 |  | 0
None | Cotton Rags / Soft Cloth For Equipment Cleaning | 003-0017-00-017006 | Kgs | 190 |  | 190
Energizer 1.5-V | AA Battery Cell | 003-0025-26-025011 | No.s | 0 |  | 0
GMSA RTV | Silicon Sealent 310- ML | 003-0000-00-000056 | No.s | 24 |  | 24
SS (Dia -38mm) | Pipe U Trap | 003-0037-37-003708 | No.s | 0 |  | 0
11 Fins 2000-W | Portable Heater (Oil Filled Heater) NSD-200 | 012-0200-04-002001 | No.s | 0 |  | 0
None | Chemical Spill Kit | 003-0048-00-048001 | Set.s | 2 |  | 2
250-ML | CRC Contact Cleaner QD, 250ml | 003-0011-00-011033 | No.s | 26 |  | 26
EMKARATE RL-100H | Refrigrant Compressor Oil | 010-1100-09-011001 | Ltr | 21 |  | 21
Philips | Ceiling Light Equipment Area (Single Rod) / Tube Light Rod 36-Watt | 011-0007-00-007012 | No.s | 0 |  | 0
Camelion 1.5V | Battery Cell AA-Size | 003-0025-00-025008 | No.s | 0 |  | 0
None | Sink Strainer | 003-0037-00-003714 | No.s | 10 |  | 10
None | Sink Drain Pipe (Flexible) | 003-0037-00-003715 | No.s | 145 |  | 145
20-Kg / Bag | Fire Proof Mud | 003-0056-00-056001 | Kgs | 275 |  | 275
Size-35mm | Rawal Plug 35mm | 003-0033-00-003350 | No.s | 0 |  | 0
None | Manifold Gauge (Air conditioning refrigerant manifold Gauge set) | 001-0020-00-020039 | Set.s | 0 |  | 0
Size-35mm | Screw 35mm | 003-0033-00-003349 | No.s | 0 |  | 0
Size-2ft x 2ft | Square LED Panel Light With Driver | 011-0007-00-007013 | No.s | 27 |  | 27
Size-1ft x 4ft | LED Panel Light With Driver 40watt / Ceiling Public Area | 011-0007-00-007004 | No.s | 62 |  | 62
Faisal | Water Flush Tank | 003-0037-00-003712 | No.s | 31 |  | 31
Size-3mm | Emergency Stop Button Cover (Transparnt Acrylic) | 011-0011-00-011001 | No.s | 165 |  | 165
Size-4mm x12mm | Philips Screw 4mm x 12mm | 003-0033-00-003351 | No.s | 300 |  | 300
Size-4mm | Nut 4mm | 003-0033-00-003359 | No.s | 300 |  | 300
Dura Cell - AA | Dura Cell 1.5V (Battery Cell) AA | 003-0025-00-002505 | No.s | 600 |  | 600
Pakistan Cable 2.5mm | Wire Single Core 2.5mm (Yellow / Green) (Black / Blue / Red) | 011-0001-08-001007 | MTR | 2340 |  | 2340
Size-3/4" / 20mm | UPVC Conduct Pipe Tee 3/4" / 20mm | 003-0052-00-052011 | No.s | 200 |  | 200
Size-35mm | Black Wooden Screw 35mm | 003-0033-00-003354 | No.s | 0 |  | 0
Left Side Arrow | Emergency Exit Sign Left Side Arrow 15-watt | 011-0007-00-007007 | No.s | 44 |  | 44
Right Side Arrow | Emergency Exit Sign Right Side Arrow 15-watt | 011-0007-00-007008 | No.s | 8 |  | 8
Both Side Arrow | Emergency Exit Sign Both Side Arrow (Right + Left) 15-watt | 011-0007-00-007009 | No.s | 65 |  | 65
2' X 3" | Stair Case light /Entrance Light 18- Watt | 011-0007-00-007006 | No.s | 183 |  | 183
2 Rods | Ceilling Light Double Fixture | 011-0007-00-007011 | No.s | 9 |  | 9
36-Watt | Equipment Area Light / Tube Light Standerd | 011-0007-00-007010 | No.s | 32 |  | 32
LGMT3-1 | Lithium Grease SKF Bearing Grease Multy Purpose | 010-0700-00-007003 | Kgs | 27 |  | 27
100 X 150 MM | Elevator Fireman Switch Sticker | 003-0031-00-003105 | No.s | 0 |  | 0
1.5" 90-D | UPVC Elbow | 003-0037-00-003729 | No,s | 22 |  | 22
| Wash Bason Sink (Standing Type) Janitoriyal Sink | 003-0037-00-003731 | No,s | 10 |  | 10
1.5" | PVC Pipe 1.5" | 003-0052-00-052024 | FT | 90 |  | 90
30" X 36" | Trash/Garbage Bag | 003-0000-00-000092 | Kgs | 50 |  | 50
750ML | Ultra Degreser Cleaner Esclator Cleaning Solution | 003-0062-00-062002 | Ltr | 50 |  | 50
750ML | Stain Remover Esclator Cleaner Stainless steel Care | 003-0062-00-062003 | Ltr | 33 |  | 33
18" X 12" | Wall Mounted Washroom Light 18watt M-3 MINI | 011-0007-00-007005 | No,s | 126 |  | 126
38mm X 25mm | PVC Casing Capping Duct 3/4" | 003-0057-00-005705 | FT | 0 |  | 0
| Teflon Tape | 003-0000-00-000028 | No.s | 200 |  | 200
| Broom With Dust Pan | 003-0000-00-000060 | No.s | 28 |  | 28
7.5" X 4.7" X 2.75" | Dusting Foam (Spunch Foam) | 003-0032-00-003201 | No.s | 50 |  | 50
| Water Proof Insulation Tape | 003-0009-04-009012 | No.s | 60 |  | 60
| Basin Tap Flexible Nozzle Pipe | 003-0037-00-003727 | No.s | 38 |  | 38
HL-3048W (Rosh) | Plateform LED Light Driver | 011-0008-00-008002 | No.s | 0 |  | 0
220V (1 X 150W) | Plateform LED Light | 011-0007-00-007023 | No.s | 250 |  | 250
7W-8W | Lamp Strip Panle Light | 011-0007-00-007024 | No.s | 40 |  | 40
3-Watt, AC-220 50Hz | Portable Beam Light/ Automatic Emergency Light | 011-0007-00-007041 | No.s | 14 |  | 14
Vogue | Slop Sink Westbank | 003-0037-00-003732 | No.s | 18 |  | 18
| Commode Seat / Disable Toilet Seat With outlet 2.5" | 003-0037-00-003726 | No,s | 5 |  | 5
1Ft X 1 Ft | Square LED Panel Light 24watt (Capital) | 011-0007-00-007033 | No,s | 65 |  | 65
Kingston | Rodent killer (4 X 100 = 400) | 003-0069-00-069001 | No,s | 63 |  | 63
DJ-12-5 | Dry Battery 12V5A (DonJin) | 002-2400-00-024003 | No,s | 140 |  | 140
25 mm | HVAC Duct Insulation Glass Wool | 003-0055-00-055005 | Sft | 80 |  | 80
20 mm | HVAC Duct Insulation Arma Flex | 003-0055-00-055006 | Sft | 0 |  | 0
1/2" | Flush Hydrant Valve Nozzle 1/2" | 002-1300-00-013005 | No,s | 16 |  | 16
Duracell | Battery 9V (Duracell) | 003-0025-52-002518 | No,s | 0 |  | 0
Dura Cell - AAA | Dura Cell 1.5V (Battery Cell) AAA | 003-0025-52-002517 | No,s | 0 |  | 0
Ø4" X 4 1/2" | Floor Drain 110mm | 003-0037-00-003742 | No,s | 50 |  | 50
3" X 3" | Floor Drain | 003-0037-00-003741 | No,s | 50 |  | 50
30 Grm | Silica Gel | 003-0062-00-062004 | No,s | 0 |  | 0
3" X 3" | Power Socket Cover | 011-0017-00-017002 | No,s | 50 |  | 50
1.5mm | Black Heat Sleeve 1.5mm | 011-0019-00-019005 | MTR | 10 |  | 10
2.5mm | Black Heat Sleeve 2.5mm | 011-0019-00-019006 | MTR | 10 |  | 10
6mm | Black Heat Sleeve 6mm | 011-0019-00-019001 | MTR | 10 |  | 10
10mm | Black Heat Sleeve 10mm | 003-0000-00-000152 | MTR | 10 |  | 10
Size-50mm | Rawal Plug 50mm | 003-0033-00-003392 | No.s | 0 |  | 0
| Glass Plate For Exit Sign | 003-0022-00-022008 | No,s | 60 |  | 60
6" X 4" | Power Socket Cover | 011-0017-00-017003 | No,s | 50 |  | 50
12V-7.2AH | Dry Battery 12V-7.2AH (Leoch) | 002-2400-09-024001 | No,s | 16 |  | 16
| Exit Sign Cover | 003-0022-00-022009 | No,s | 252 |  | 252
250-W | Halogen Lamp 250 Watt | 011-0007-09-007035 | No,s | 31 |  | 31
250-W | Halogen Light Accessories 250 Watt | 011-0008-00-008011 | No,s | 31 |  | 31
Klorsept 87 | Disinfectant Tablet | 003-0062-00-062005 | No,s | 3 |  | 3
| Lamp Strip Panle Light | 001-0007-00-007040 | No,s | 400 |  | 400
150-W | Halogen Lamp 150 Watt | 011-0007-00-007042 | No,s | 25 |  | 25
150-W | Halogen Light Accessories 150 Watt | 011-0008-00-008010 | No,s | 25 |  | 25
RJ-11 | Cable Connector 6 Pin | 003-0002-00-002016 | No,s | 0 |  | 0
| Fire Equipment inspection Sticker | 006-0001-00-001109 | No,s | 0 |  | 0
R-22 | Refrigrant Gas R-22 (Honeywell) | 003-0070-00-070004 | Kgs | 27 |  | 27
Faisal-1/2" | Muslim Faucet/Muslim shower with Barrel Nipple | 003-0037-00-003738 | Set.s | 0 |  | 0
DWT250 | Aluminium Scaffolding (L=1.80M x W=1.50M x H=12.30M) | 001-0018-00-018053 | Set.s | 0 |  | 0
330-ML | WD-40 Multi-Use Product Original | 003-0011-00-011001 | No,s | 0 |  | 0
| Chiller Cleaning Brush | 003-0072-00-072001 | No,s | 0 |  | 0
0.5-MM | Flexible Cable Single Core | 011-0001-00-001014 | MTR | 0 |  | 0
Zic Oil | Hydraulic Oil VEGA 68 | 003-0011-00-011021 | Ltr | 0 |  | 0
AC90-260V 50HZ | SMD Down Light 3-Watt CCT-65000K | 011-0007-16-007045 | No,s | 50 |  | 50
FP3C300-35 | SMD Down Light Driver 265V AC 50/60HZ | 011-0008-00-008012 | No,s | 150 |  | 150
| Baby / Angle Grinder 115mm (Bosch) | 001-001801-018086 | No,s | 0 |  | 0
1.1/2" | Gate Valve S.S | 002-3200-00-003201 | No,s | 0 |  | 0
1.1/4" | Gate Valve S.S | 002-3200-00-003202 | No,s | 0 |  | 0
1" | Gate Valve S.S | 002-3200-00-003203 | No,s | 0 |  | 0
1" | Float Valve S.S | 002-3200-00-003204 | No,s | 0 |  | 0
1.1/4" | Float Valve S.S | 002-3200-00-003205 | No,s | 0 |  | 0
1/2" | Ball Valve S.S | 002-3200-00-003206 | No,s | 0 |  | 0
24 V AC | LED Lamp For Pits 5-W | 011-0007-00-007044 | No,s | 160 |  | 160
0.9 Ltr Red | Synthetic Enamel Paint | 003-0026-00-026007 | No,s | 0 |  | 0
0.9 Ltr Grey | Synthetic Enamel Paint | 003-0026-00-026008 | No,s | 0 |  | 0
0.9 Ltr Red Oxide | Red Oxide Paint | 003-0026-00-026009 | No,s | 0 |  | 0
2" | HVAC insulation Tape | 003-0009-00-009032 | No,s | 100 |  | 100
C10-Amp | Breaker 1-Pole (Schneider) | 011-0004-02-004009 | No,s | 20 |  | 20
C10-Amp | Breaker 2-Pole (Schneider) | 011-0004-02-004010 | No,s | 20 |  | 20
C16-Amp | Breaker 2-Pole (Schneider) | 011-0004-02-004011 | No,s | 20 |  | 20
C16-Amp | Breaker 3-Pole (Schneider) | 011-0004-02-004012 | No,s | 20 |  | 20
C20-Amp | Breaker 2-Pole (Schneider) | 011-0004-02-004013 | No,s | 20 |  | 20
C20-Amp | Breaker 3-Pole (Schneider) | 011-0004-02-004014 | No,s | 20 |  | 20
C32-Amp | Breaker 2-Pole (Schneider) | 011-0004-02-004015 | No,s | 20 |  | 20
C32-Amp | Breaker 3-Pole (Schneider) | 011-0004-02-004016 | No,s | 20 |  | 20
6500 K | LED Tube Light 8-Watt 220V-240V 50Hz 2Ft | 011-0007-00-007046 | No,s | 100 |  | 100
| Duster Towel Large/ Towel Rags | 003-0017-00-017005 | No,s | 22 |  | 22
| Cleaning Brush | 003-0000-00-000148 | No,s | 0 |  | 0
6" | Scraper | 001-0000-00-000053 | No,s | 0 |  | 0
25-Kg, 2000PSi | Nitrogen Gas Cylinder | 003-0070-00-070005 | No,s | 0 |  | 0
160-Psi | Nitrogen Gas Regulator | 001-0010-00-010020 | No,s | 0 |  | 0
500 ML | Glass Cleaner (Glint) | 003-0011-00-011071 | No,s | 50 |  | 50
Reco | SMD Down Light | 011-0007-00-007025 | No,s | 0 |  | 0
220V | Ciramic Bulb Holder | 011-0021-00-021003 | No,s | 130 |  | 130
20-MM | HVAC Duct Insulation (Arma Flex) | 003-0055-00-055006 | Ft | 80 |  | 80
| Copper Welding Rod | 003-0003-00-003009 | No,s | 0 |  | 0
18-MM | Mechanical Seal | 002-1500-00-015006 | No,s | 0 |  | 0
20-MM | Mechanical Seal | 002-1500-00-015007 | No,s | 0 |  | 0
22-MM | Mechanical Seal | 002-1500-00-015008 | No,s | 0 |  | 0
20g | Elfi (GMSA) | 003-0029-00-029006 | No,s | 0 |  | 0
3.2-MM | Blind Rivit | 003-0058-00-058001 | No,s | 0 |  | 0
4-MM | Blind Rivit | 003-0058-00-005801 | No,s | 0 |  | 0
4.4-MM | Blind Rivit | 003-0058-00-058002 | No,s | 0 |  | 0
1/2" | Jublee Clamp | 003-0000-00-000105 | No,s | 0 |  | 0
Ø105 x 16-MM | Concrete Cutting Disc (Bosch) | 001-0043-01-043012 | No,s | 3 |  | 3
2-MM | Rubber Gasket Sheet | 003-0053-00-053003 | Mtr | 0 |  | 0
| Sink Stoper | 003-0037-00-003728 | No,s | 28 |  | 28
HWBA01482 | Crowbar/Wrecking Bar 1.5-Mtr (Ingco) | 001-0005-36-005008 | No,s | 0 |  | 0
6013 | Electric Welding Rod | 003-0003-01-003003 | Kg,s | 3 |  | 3
20-Ft/Cable | Electric Welding Plant Cable | 011-0001-00-001015 | No,s | 2 |  | 2
3" | U-Bolt Clamp with Nut and Washer | 003-0033-00-003398 | No,s | 150 |  | 150
4" | U-Bolt Clamp with Nut and Washer | 003-0033-00-003399 | No,s | 50 |  | 50
FC9351/01 | Vacuum Cleaner 220V-230V 50-60Hz (Philips) | 001-0054-00-054003 | No,s | 0 |  | 0
1" | Metal/Jubilee Clamp | 003-0005-00-005015 | No,s | 16 |  | 16
2" | Metal/Jubilee Clamp | 003-0005-00-005016 | No,s | 16 |  | 16
3" | Metal/Jubilee Clamp | 003-0005-00-005017 | No,s | 16 |  | 16
4" | Metal/Jubilee Clamp | 003-0005-00-005020 | No,s | 16 |  | 16
(595X959X300MM) | AHU Bag Filter With GI Frame,F7 | 002-3000-00-003017 | No,s | 4 |  | 4
30-Amp | AC Plug 3-Pin Shoe With Fuse 3-Amp | 011-0005-00-005018 | No,s | 20 |  | 20
24V,12W | LED Light Kit | 011-0008-00-008013 | No,s | 0 |  | 0
9mm | PPRC Gas Hose Pipe Red | 003-0050-00-052026 | Mtr | 0 |  | 0
9mm | PPRC Gas Hose Pipe Green | 003-0050-00-052026 | Mtr | 0 |  | 0
| Belt for PSD |  | Mtr | 120 |  | 120
400-g | Soldering wire with paste |  | No,s | 0 |  | 0
100-Amp | Dry Battery 12-V | 002-2400-00-024006 | No,s | 46 |  | 46
24-Amp | Dry Battery 12-V | 002-2400-00-024007 | No,s | 18 |  | 18
Ledger | Cylinder Room Daily Inspection Checklist |  | No,s | 0 |  | 0
Ledger | BAS Weekly Inspection Checklist |  | No,s | 0 |  | 0
Ledger | FAS Weekly Inspection Checklist |  | No,s | 0 |  | 0
Ledger | PSCADA Weekly Inspection Checklist |  | No,s | 0 |  | 0
Ledger | AHU Daily Patrol Book |  | No,s | 0 |  | 0
Ledger | EPS Weekly Patrol |  | No,s | 0 |  | 0
Ledger | Main Submersible Pump Daily Patrol |  | No,s | 0 |  | 0
Ledger | DB Of LV Weekly Patrol |  | No,s | 0 |  | 0
Ledger | Fire Water System Daily Patrol |  | No,s | 0 |  | 0
Ledger | Chiller Routing Inspection Book |  | No,s | 0 |  | 0
Ledger | Enclosed lift system Routing Inspection |  | No,s | 0 |  | 0
Ledger | Hot Water Pump room Daily Patrol |  | No,s | 0 |  | 0
Ledger | Domestic Water System Daily Patrol |  | No,s | 0 |  | 0
Ledger | HVAC Cooling Tower Routing Inspection Book AC Season |  | No,s | 0 |  | 0
Ledger | HVAC Pump Routing Inspection Book |  | No,s | 0 |  | 0
Ledger | Filter Cleaning Log |  | No,s | 0 |  | 0
Ledger | PSD Daily Patrol |  | No,s | 0 |  | 0
Ledger | Tool Box Talk-New |  | No,s | 0 |  | 0
Ledger | Track Entry Data Record |  | No,s | 0 |  | 0
Ledger | High Speed Diesel | 003-0011-00-011018 | Ltr | 0 |  | 0
VC14122 | Portable Vacuum Cleaner 800-Watt (Ingco) | 001-0054-36-054005 | No,s | 4 |  | 4
| Fixed stairway with handrail and landing platform |  | No,s | 0 |  | 0
| Sub Meter 3-phase KWH Digital Mater | 003-0010-00-001034 | No,s | 0 |  | 0
25m2 | Power cable 4-core | 011-0015-00-015004 | No,s | 0 |  | 0
200-500V | Line Tester | 001-0035-43-035071 | No,s | 0 |  | 0
| Nitrogen Gas Cylinder Refilling | 003-0070-00-070006 | Kg,s | 0 |  | 0
VA-7010-8003 | Motorized Valve |  | No,s | 14 |  | 14
100-Watt,IP66 | LED Flood Light (SOGO) |  | No,s | 0 |  | 0
Schneider | Elevator Brake Contactor | 011-0002-02-020002 | No,s | 0 |  | 0
| Half Month Maintenance Form Of Escalator |  | No,s | 0 |  | 0
| Quarterly Maintenance Form Of Escalator |  | No,s | 0 |  | 0
| Semi- Annual Maintenance Form Of Escalator |  | No,s | 0 |  | 0
| Annual Maintenance Form Of Escalator |  | No,s | 0 |  | 0
| Half Month Maintenance Form Of Elevator |  | No,s | 0 |  | 0
| Quarterly Maintenance Form Of Elevator |  | No,s | 0 |  | 0
| Annual Maintenance Form Of Elevator |  | No,s | 0 |  | 0
| Maintenance Form Of PSD's (Monthly & Annual) |  | No,s | 0 |  | 0
HI720-CN | Heat Dettector (Siemens) |  | No,s | 0 |  | 0
OP120-CN | Smoke Dettector (Siemens) |  | No,s | 0 |  | 0
400-ml | VMD 93 Graphite Lubricant |  | No,s | 6 |  | 6
1-Kg | Belzona 1111 Super Metal |  | No,s | 1 |  | 1
10-Amp | Ceramic Fuse |  | No,s | 40 |  | 40
CAT-6 | Ethernet Cable |  | Mtr | 305 |  | 305

## BAS
System Received on 20/11/2020
Sr. # | IMIS Codes | BOQ # | BAS (Spares Inventory) | Part # | UOM | Current Balance
1 | 305-0001-01-001001 | 1.1 | Power Module (Schneider) | 140CPS11420 | No,s | 10
2 | 305-0001-01-001002 | 1.2 | CPU Module (Schneider) | 140CPU67160 | No,s | 10
3 | 305-0001-01-001003 | 1.3 | Ethernet Module (Schneider) | 140CRP31200 | No,s | 10
4 | 305-0001-01-001004 | 1.4 | Communication Module (Schneider) | 140NOC78000 | No,s | 10
5 | 305-0001-01-001005 | 1.5 | PLC Case (Schneider) | 140XBBP01000 | No,s | 5
6 | 305-0001-01-001006 | 1.6 | Hot Standby Optical Cable (Schneider) | 490N0R00003 | No,s | 10
7 | 305-0001-01-001007 | 1.7 | Memory Card (Schneider) | TSXMRPF004M | No,s | 10
8 | 305-0001-01-001008 | 1.8 | Switch of PLC (Schneider) | TCSESM083F2CS0M | No,s | 12
9 | 305-0001-01-001009 | 1.9 | Switcher of Station (Transcend Communication) | Carat55D-16TX-2FS20 | No,s | 2
10 | 305-0001-01-001010 | 1.1 | Power Module of RIO (Schnieder) | BMXCPS3500 | No,s | 10
11 | 305-0001-01-001011 | 1.11 | Adapter Module of RIO (Schneider) | BMXPRA0100 | No,s | 9
12 | 305-0001-01-001012 | 1.12 | RIO Case (Schneider) | BMXXBP1200 | No,s | 10
13 | 305-0001-01-001013 | 1.13 | 16 Point DI Module (Schneider) | BMXXBP1200 | No,s | 20
14 | 305-0001-01-001014 | 1.14 |  | BMX DDO 1602 | No,s | 20
15 | 305-0001-01-001015 | 1.15 | 16 Point Do Module (Schneider) | BMX AMI 0810 | No,s | 15
16 | 305-0001-01-001016 | 1.16 | 16 Point Do Module (Schneider) | BMX AMO 0410 | No,s | 15
17 | 305-0001-01-001017 | 1.17 | Serial Communication interface (Schneider) | BMX NOM 0200 | No,s | 15
18 | 305-0001-01-001018 | 1.18 | Temperature Sensor for for Air Kiosk | EE451-T6xxPO/025M | No,s | 10
19 | 305-0001-01-001019 | 1.19 | Temperature & Humidity Sensor for Air Kiosk | EE195-HT6BDTx025M | No,s | 10
20 | 305-0001-01-001020 | 1.2 | Temperature & Humidity Sensor for Room | EE195-HT6ACTx025M | No,s | 10
21 | 305-0001-01-001021 | 1.21 | CO2 Sensor | EE820-C6xPP002S | No,s | 5

## Elevator
System Received on 26/10/2020
Sr. # | IMIS Codes | BOQ # | Elevator (Spares Inventory) | Part # | UOM | Current Balance
1 | 319-0001-01-001001 | 1 | Safty Contact | LC1-D32F7C | No,s | 30
2 | 319-0001-02-001002 | 2 | Brake Contact | FJ-B09H501 | No,s | 30
3 | 319-0001-02-001003 | 3 | Running Contact | MG5D(BF)DC110B | No,s | 30
4 | 319-0001-01-001004 | 4 | KUP Rescure Contact | LC1-D09M7C | No,s | 30
5 | 319-0001-04-001005 | 5 | Switch Power | NES-100-24 | No,s | 30
6 | 319-0001-05-001006 | 6 | Transformer | TDB420(208,220,230,240/100,110B3.8A) | No,s | 25
7 | 319-0001-06-001007 | 7 | Button, Up | BAS231 | No,s | 180
8 | 319-0001-06-001008 | 8 | Button, Down | BAS231 | No,s | 179
9 | 319-0001-06-001009 | 9 | Button, Door Open | Q5B02011-DDC 1 / BAS231 | No,s | 179
10 | 319-0001-06-001010 | 10 | Button,Door Close | Q5B03011-DDC 1 / BAS231 | No,s | 179
11 | 319-0001-06-001011 | 11 | Button, P | BAS231 | No,s | 120
12 | 319-0001-06-001012 | 12 | Button, T | BAS231 | No,s | 240
13 | 319-0001-06-001013 | 13 | Button, G | BAS231 | No,s | 120
14 | 319-0001-06-001014 | 14 | Other Floor Button, Total | BAS231 | No,s | 30
15 | 319-0001-07-001015 | 15 | Weight Sensor | EMK-HDJD | No,s | 20
16 | 319-0001-08-001016 | 16 | Levelling Sensor | YG-30B | No,s | 40
17 | 319-0001-09-001017 | 17 | Limited Swtich | HD/1370(NC) | No,s | 40
18 | 319-0001-10-001018 | 18 | Phase Relay | DPA51CM44 | No,s | 40
19 | 319-0001-11-001019 | 19 | Intergrated Controller | NICE-L-C-40011-SJ1 | No,s | 20
20 | 319-0001-11-001020 | 20 | Car Top Board | MCTC-CTB-A | No,s | 20
21 | 319-0001-12-001021 | 21 | Controller Conjunction Board | MJB-E | No,s | 20
22 | 319-0001-12-001022 | 22 | Conjunction Board in Car-Top Junction Box | CJB-E | No,s | 30
23 | 319-0001-11-001023 | 23 | FOB Display | MCTC-HCB-F4-SJ | No,s | 79
24 | 319-0001-11-001024 | 24 | Intergrated CCB Board | MCTC-CCB-A | No,s | 37
25 | 319-0001-06-001025 | 25 | Emergency Light | RH-1(DC 12-V) | No,s | 40
26 | 319-0001-13-001026 | 26 | Emergecy Power | RKP220/ 12F | No,s | 107
27 | 319-0001-14-001027 | 27 | Back-Up Power | KI3000 | No,s | 107
28 | 319-0001-15-001028 | 28 | Buffer Switch | LM8157 | No,s | 40
29 | 319-0001-16-001029 | 29 | Speed Governor | XSQ115-13 | No,s | 10
30 | 319-0001-16-001030 | 30 | Tension Roller Switch | DFA11501 | No,s | 20
31 | 319-0001-12-001031 | 31 | Emergency Stop Button Box | DCD00101 | No,s | 10
32 | 319-0001-09-001032 | 32 | Braking Resistance | 4800-Watt | No,s | 10
33 | 319-0001-13-001033 | 33 | Intercom System | 4 | No,s | 10
34 | 319-0001-17-001034 | 34 | Car Guiding Roller, Guiding Shoes | D30. Q00AF. 625A02 | No,s | 2200
35 | 319-0001-17-001035 | 35 | Counter-Weight Guiding Roller,Guiding Shoes (OR Intergrated Guding Roller) | D30. Q00AF. 625A01 | No,s | 1600
36 | 319-0001-18-001036 | 36 | Door Sliding Block | 01P00000 | No,s | 6000
37 | 319-0001-08-001037 | 37 | Contact | KCE-S5SF, R0000 | No,s | 400
38 | 319-0001-18-001038 | 38 | Landing Door Panel Hanging Concentric Wheel | PFR-5500-00000 | No,s | 200
39 | 319-0001-18-001039 | 39 | Landing Door Panel Hanging Eccentric Wheel | PFR-6800-00000 | No,s | 200
40 | 319-0001-18-001040 | 40 | Car Door Panel Hanging Concentric Wheel | PFR-5500-00000 | No,s | 200
41 | 319-0001-18-001041 | 41 | Car Door Panel Hanging Eccentric Wheel | PFR-6800-00000 | No,s | 200
42 | 319-0001-18-001042 | 42 | Triangle Key | ADS-81MK.R00CR | No,s | 20
43 | 319-0001-18-001043 | 43 | Landing Door Lock | P300RC20F | No,s | 40
44 | 319-0001-18-001044 | 44 | Car Door Lock | P0ASCC200 | No,s | 10
45 | 319-0001-18-001045 | 45 | Landing Door Opening Assembely Device | ACJ-0000.RD000 | No,s | 20
46 | 319-0001-18-001046 | 46 | Door Knife | CSK | No,s | 20
47 | 319-0001-18-001047 | 47 | Car Door Hanging Panel Linkage Rope | 3880 | No,s | 40
48 | 319-0001-18-001048 | 48 | Landing Door Device Linkage Rope | 3770 | No,s | 40
49 | 319-0001-18-001049 | 49 | Motor Belt | BHT-P0EA. CC200 | No,s | 30
50 | 319-0001-18-001050 | 50 | Door Motor | PI06A50060015006P0EF40E00000 | No,s | 20
51 | 319-0001-18-001051 | 51 | Door Inverter | VF5ACI0CE | No,s | 20
52 | 319-0001-18-001052 | 52 | Passageway Floor Landing Door in HSS 316 | X30540 | No,s | 12
53 | 319-0001-18-001053 | 53 | Passageway Floor Landing Door Jamb in HSS 316 | T30540 | No,s | 6
54 | 319-0001-18-001054 | 54 | Other Landing Doors in HSS 304 | XC0540 | No,s | 20
55 | 319-0001-18-001055 | 55 | Other Landing Doors Jambs in HSS 304 | TC0540 | No,s | 10
56 | 319-0001-18-001056 | 56 | Car Door in HSS 304 | X30540 | No,s | 10
57 | 319-0001-19-001057 | 57 | Door Curtain | WECO-917B71-AC220 | No,s | 20
58 | 319-0001-20-001058 | 58 | Oil Cup | D30. S00AF. 461A01 | No,s | 60
59 | 319-0001-20-001059 | 59 | Oil Mat | PD30.S00AF.462A01 | No,s | 400

## Escalator
System Received on 16/10/2020
Sr. # | IMIS Codes | BOQ # | Escalator (Spares Inventory) | Part # | UOM | Current Balance
1 | 318-0001-01-001001 | 1 | Step Chain | FKB078 FKN051 | No,s | 300
2 | 318-0001-02-001002 | 2 | Step | FKA06310 FKN07301 | No,s | 93
3 | 318-0001-03-001003 | 3 | Hand Rail Belt Driving Device | FDN068 | No,s | 5
|  | 4 | Step Chain Roller and Step Roller |  |  | -
4 | 318-0001-04-001004 | 4.1 | Step Chain Roller and Step Roller for FEH20 | FKN07504 | No,s | 20
5 | 318-0001-05-001005 | 4.2 | Step Chain Roller and Step Roller for FEH | FKB07101 | No,s | 130
6 | 318-0001-06-001006 | 5 | Step Chain Roller Bearing and Step Roller Bearing | B4511030 | No,s | 20
|  | 6 | Step Driving Shaft and Step Chain Tension Shaft |  |  | -
7 | 318-0001-07-001007 | 6.1 | Step driving Shaft and Step Chain Tension Shaft for FEH20 | FCN08304 FCN07001 | No,s | 5
8 | 318-0001-07-001008 | 6.2 | Step Driving Shaft and Step Chain Tension Shaft for FEH | FCK05604 FCK15901 | No,s | 10
9 |  | 7 | Step driving shaft bearing and step chain tension shaft bearing |  | No,s | -
10 | 318-0001-06-001009 | 7.1 | Step driving shaft bearing and step chain tension shaft bearing for FEH20 | B4501076 B4504056 | No,s | 5
11 | 318-0001-06-001010 | 7.2 | Step driving shaft bearing and step chain tension shaft bearing for FEH | B4501075 B4509055 | No,s | 10
12 | 318-0001-08-001011 | 8 | Auto-Lubrication System Assembled | VERSA | No,s | 10
13 | 318-0001-08-001012 | 9 | Lubrication Oil Pump | VIII 6LSLR | No,s | 2
|  | 10 | Gear box |  |  | -
14 | 318-0001-09-001013 | 10.1 | Gear Box CG26-112 | FJN09402/01 | No,s | 10
15 | 318-0001-10-001014 | 10.3 | Gear Box K87 | FJK05204/03 | No,s | 5
16 | 318-0001-10-001015 | 10.4 | Gear Box K97 | FJK07106/05 | No,s | 6
|  | 11 | Braking Magnet |  |  | -
17 | 318-0001-03-001016 | 11.1 | Braking Magnet for FEH | FJA07401 | No,s | 25
18 | 318-0001-11-001017 | 11.2 | Braking Magnet for FEH20 | FJN08801 | No,s | 12
19 |  | 12 | Auxiliary brake |  |  | -
20 | 318-0001-12-001018 | 12.1 | Auxiliary brake for FEH20 | FMN00201 | No,s | 4
21 | 318-0001-12-001019 | 12.2 | Auxiliary brake for FEH | FMK00201 | No,s | 8
|  | 13 | Motor |  |  | -
22 | 318-0001-13-001020 | 13.1 | Motor 11kw for FEH | FJK10101 | No,s | 5
23 | 318-0001-14-001021 | 13.2 | Motor 15kw for FEH20 | FJN10708 | No,s | 5
24 | 318-0001-13-001022 | 13.3 | Motor 15kw for FEH(left) | FJK07001 | No,s | 5
25 | 318-0001-13-001023 | 13.4 | Motor 15kw for FEH(right) | FJK07002 | No,s | 5
|  | 14 | Main Driving Chain |  |  | -
26 | 318-0001-15-001024 | 14.1 | Main driving chain for FEH | FJA11114 | No,s | 5
27 | 318-0001-15-001025 | 14.2 | Main driving chain for FEH20 | FJN11102 | No,s | 5
28 | 318-0001-15-001026 | 15 | Handail driving chain | FCA06004 FCN14701 | No,s | 5
|  | 16 | Inverter |  |  | -
29 | 318-0001-16-001027 | 16.1 | Inverter FC-301P22KT4E55 | FC-301P22KT4E55 | No,s | 2
30 | 318-0001-16-001028 | 16.2 | Inverter FC-301P30KT4E55 | FC-301P30KT4E55 | No,s | 3
31 | 318-0001-16-001029 | 16.3 | Inverter FC-301P37KT4E55 | FC-301P37KT4E55 | No,s | 3
32 | 318-0001-17-001030 | 17 | PLC | TM218LDA40DRN | No,s | 5
33 | 318-0001-18-001031 | 18 | All safety swtiches | Z1R/T1R/ZS236Serial | No,s | 50
|  | 19 | Contact |  |  | -
34 | 318-0001-17-001032 | 19.1 | Contact LC1-D65AF7C | LC1-D65AF7C | No,s | 20
35 | 318-0001-17-001033 | 19.2 | Contact LC1-D80AF7C | LC1-D80F7C | No,s | 20
36 | 318-0001-17-001034 | 19.3 | Contact LC1-D95F7C | LC1-D95F7C | No,s | 20
37 | 318-0001-19-001035 | 20 | Relay | RJ2S/SF1V Serial | No,s | 30
38 | 318-0001-20-001036 | 21 | Comb, Left | FGA10001FGA07501 | No,s | 1199
39 | 318-0001-20-001037 | 22 | Comb, Middle | FGA10101 | No,s | 2200
40 | 318-0001-20-001038 | 23 | Comb, Right | FGA10102 FGA07502 | No,s | 1200
41 | 318-0001-05-001039 | 24 | Driving Block | FMA09101 | No,s | 100
42 | 318-0001-05-001040 | 25 | l | FDA09701 | No,s | 240
43 | 318-0001-22-001041 | 26 | Tension Roller | FDD07002 | No,s | 100
44 | 318-0001-23-001042 | 27 | Friction Wheel | FCK14901 | No,s | 56
45 | 318-0001-04-001043 | 28 | Motor vibration abatement pad | FJN07001 | No,s | 200
46 | 318-0001-17-001044 | 29 | Auxiliary contact | LAD-N20C | No,s | 160
47 | 318-0001-24-001045 | 30 | Heating-Rod | FLA16601/FLA16602 | No,s | 20
48 | 318-0001-19-001046 | 31 | Machine room lighting switch | YW1S-2E10 | No,s | 50
49 | 318-0001-19-001047 | 32 | emergency stop button | YW1B-V4E01R | No,s | 80
50 | 318-0001-19-001048 | 33 | Traffic direction switch | YW1K-33DE20 | No,s | 80
51 | 318-0001-19-001049 | 34 | stop button | YW1BM1E01R | No,s | 80
52 | 318-0001-25-001050 | 35 | Brake opening switch | ZS236-02z-M20 | No,s | 100
53 | 318-0001-26-001051 | 36 | Motor speed sensor | ETF58-H-12 | No,s | 50
54 | 318-0001-03-001052 | 37 | Fault collection board | ET03 | No,s | 20
|  | 38 | Fault Display |  |  | -
55 | 318-0001-03-001053 | 38.1 | Fault display board FZB05801 | ED04.V1 | No,s | 20
56 | 318-0001-17-001054 | 38.2 | Fault display board HMIGXO3502 | HMISTU655 | No,s | 18
57 | 318-0001-27-001055 | 39 | Skirting screw | B0180507 | No,s | 4000
58 | 318-0001-27-001056 | 40 | Hexagon screws 6mm | B0100713 B0100714 B0100715 | No,s | 4000
59 | 318-0001-27-001057 | 41 | Square nut 6mm | B0240400 | No,s | 2500
60 | 318-0001-28-001058 | 42 | Step gap illumination tube | LED-T8B60-8W/DC24V | No,s | 120
61 | 318-0001-03-001059 | 45 | Maintenance box | FUA05103 | No,s | 20
|  | 46 | Handrail |  |  | -
62 | 318-0001-29-001060 | 46.1 | Handrail Belt for FEH | FDK10601 | Meter | 501
63 | 318-0001-29-001061 | 46.2 | Handrail Belt for FEH20 | FDN05101 | Meter | 500
64 | 318-0001-30-001062 | 47 | Oil for Gear box Teeth | Shell Omala S2G220 | LTR | -
65 | 318-0001-31-001063 | 48 | Lubrication Oil | N46 | LTR | -
66 | 318-0001-00-001081 | 52 | Process Auxiliary Pin for Segmentation ￠20 / 分段用工艺辅助销 ￠20 | F01.K10HK.008A01/02 | No,s | 24
67 | 318-0001-27-001065 | 71 | Washer 8 (dacromet) for Balustrade System | B0300800 | No,s | 4000
68 | 318-0001-27-001066 | 72 | Bolt M8 x 25 (Dacromet) for Balustrade System | B0180507 | No,s | 2000
69 | 318-0001-27-001067 | 73 | Spring washer 8(dacromet) for Balustrade system | B0330700 | No,s | 2000
70 | 318-0001-27-001068 | 74 | Screw 8 (Dacromet) for Balustrade System | B0200800 | No,s | 2000
71 | 318-0001-27-001069 | 75 | Washer 12 (dacromet) for Balustrade System | B0301000 | No,s | 4000
72 | 318-0001-27-001070 | 76 | Bolt M-12 x 25 (Dacromet) for Balustrade System | B0180707 | No,s | 2000
73 | 318-0001-27-001071 | 77 | Spring Washer 12 (Dacromet) for Balustrade System | B0330900 | No,s | 2000
74 | 318-0001-27-001072 | 78 | Screw M12 (Dacromet) for Balustrade System | B0201000 | No,s | 2000
75 | 318-0001-27-001073 | 79 | Washer 10 (Dacromet) for Balustrade System | B0300900 | No,s | 2000
76 | 318-0001-27-001074 | 80 | Bolt M-10 x 25 (Dacromet) for Balustrade System | B0180607 | No,s | 1000
77 | 318-0001-27-001075 | 81 | Spring Washer 10 (Dacromet) for Balustrade System | B0330800 | No,s | 1000
78 | 318-0001-27-001076 | 82 | Screws M-10 (Dacromet) for Balustrade System | B0200900 | No,s | 1000
79 | 318-0001-27-001077 | 83 | Comb Screws (HSS) | B0030808 | No,s | 400
80 | 318-0001-27-001078 | 84 | Handrail Belt Guiding Block (with Dacromet Screws) | FDA09901 | No,s | 600
81 | 318-0001-27-001079 | 85 | Skirting Connecting Device(Dacromet) | FEA05501 | No,s | 600
Sr. # | IMIS Codes | BOQ # | Escalator (Special Tools) | Part # | UOM
1 | 318-0001-00-001082 | 50 | Portable Lamp for Mainting Cable | FUB00202 | No,s | 20
2 | 318-0001-00-001096 | 65 | Sound Level Meter | TES-1350A | No,s | 2
3 | 318-0001-00-001097 | 66 | Leveling Insturment | BX2-S90 | No,s | 4

## FAS
System Received on 20/11/2020
Sr. # | IMIS Codes | BOQ # | FAS (Spares Inventory) | Part # | UOM | Current Balance
1 | 313-0001-01-001001 | 1.1 | Smoke Sensing Fire Detector (OP720-CN) | OP720-CN | No,s | 120
2 | 313-0001-01-001002 | 1.2 | Heat Sensing Fire Detector (Hi 720-CN) | HI720-CN | No,s | 25
3 | 313-0001-01-001003 | 1.3 | Manual Call Point (FDM 230-CN) | FDM 230-CN | No,s | 30
4 | 313-0001-01-001004 | 1.4 | Fire Hydrant Button (FDHM 230-CN) | FDHM 230-CN | No,s | 20
5 | 313-0001-01-001005 | 1.5 | Input Module (FDCi 221-CN) | FDCi 221-CN | No,s | 120
6 | 313-0001-01-001006 | 1.6 | Out Put Module (FDCi 0221-CN) | FDCi 0221-CN | No,s | 80
7 | 313-0001-01-001007 | 1.7 | Audible & Visual Alarm Device (HZSG-2) | HZSG-2 | No,s | 10
8 | 313-0001-01-001008 | 1.8 | Interface With Multi Service Network (PT 33) | PT33 | No,s | 3
9 | 313-0001-01-001009 | 1.9 | Local Fire Alarm Panel - LFAP (FC 726) | FC726 | Set | 2
10 | 313-0001-01-001010 | 1.1 | Aspirating Smoke Detector (FDA 241-CN) | FDA241-CN | No,s | 6
11 | 313-0001-04-001011 | 1.11 | Combustiblev Gas Alarm Detector (AT 0502 AH) | AT 0502 AH | No,s | 6

## FES
System Received on 20/11/2020
Sr. # | IMIS Code | BOQ # | FES (Spares Inventory) | Part # | UOM | Current Balance
1 | 314-001-01-001001 | 1 | 70-LTR Extenguisher Cylinder (Empty) HFC-227 | QMP 70/4.2 | No,s | 42
2 | 314-001-01-001002 | 2 | High Pressure Flexible Metal Tubing (HFC) | JR 32 L 2-600 | No,s | 20
3 | 314-001-01-001003 | 3 | Pressure Switch | XF 0.8/17.2 | No,s | 10
4 | 314-001-01-001005 | 4 | Safety Valve (HFC) | QAX 7.5 | No,s | 5
5 | 314-001-01-001004 | 5 | Actuating Device (Small N2 Cylinders) | HQP4/6 | No,s | 8
6 | 314-001-01-001006 | 6 | Selector Valve DN 100 | HXZ 100/17.2-Y | No,s | 1
7 | 314-001-01-001007 | 7 | Selector Valve DN 80 | HXZ 80/17.2 | No,s | 1
8 | 314-001-01-001008 | 8 | Selector Valve DN 65 | HXZ 65/17.2 | No,s | 2
9 | 314-001-01-001009 | 9 | Selector Valve DN 50 | HXZ 50/17.2 | No,s | 2
10 | 314-001-01-001010 | 10 | Selector Valve DN 40 | HXZ 40/17.2 | No,s | 1
11 | 314-001-01-001011 | 11 | Selector Valve DN 32 | HXZ 32/17.2 | No,s | 1
12 | 314-001-01-001012 | 12 | Extinguishing Agent (HFC-227 ea) (GAS) | Gas is filled in Line item # 1 | Kgs | 2355
13 | 314-001-01-001013 | 13 | Gas Flow Check Valve | QD 6/6.6 | No,s | 5
14 | 314-001-01-001014 | 14 | Nozzle HFC - 227 | QPT XX/XX | No,s | 5
15 | 314-001-01-001015 | 15 | Leakage Alarm Unit- HFC | BXLQXX | No,s | 2
16 | 314-001-01-001016 | 16 | Low Venting High Close Valve | HDG 0.5/8 | No,s | 5
17 | 314-001-01-001017 | 17 | CO2 Storage Cylinders (70-LTR) | EMP 70 | No,s | 50
18 | 314-001-01-001018 | 18 | High Pressure Flexible Metal Tubing (CO2) | JR 12 L 1-650 | No,s | 20
19 | 314-001-01-001019 | 19 | Safety Valve (CO2) | EAX 15 | No,s | 5
20 | 314-001-01-001020 | 20 | Weighing Device Co2 |  | No,s | 10
21 | 314-001-01-001021 | 21 | Co2 Nozzle | EPT xx/xx | No,s | 5
22 | 314-001-01-001022 | 22 | Leakage Alarm Unit- Co2 | BXLQXX | No,s | 2

## HVAC
System Received on 19/11/2020
Sr. # | IMIS Code | BOQ # | HVAC (Spares Inventory) | Part # | UOM | Current Balance
|  | 1 | Motorized Damper Set
1 | 310-0001-01-001001 | 1.1 | Electric Actuator | SY4-230-3T | No,s | 1
2 | 310-0001-01-001002 | 1.2 | Silicon Rubber Sealing (3-Pcs) |  | Kgs | 12
|  | 2 | Fan |  |  | -
3 | 310-0001-02-001003 | 2.1 | Reverseable Axial Fan Impeller | DTF-20 | No,s | 1
4 | 310-0001-02-001004 | 2.2 | Reverseable Axial Fan Motor | DTF-20 | No,s | 1
5 | 310-0001-02-001005 | 2.3 | Axial Fan Impeller | DTF-6.3-7.1 | No,s | 4
6 | 310-0001-02-001006 | 2.4 | Axial Fan Motor | DTF-6.3-7.2 | No,s | 4
7 | 310-0001-02-001007 | 2.5 | Special Grease | 1869678 | Kgs | 20
|  | 3 | Fire Proof Valve |  |  | -
8 | 310-0001-01-001008 | 3.1 | Manual Smoke Dampers | DL-1 | No,s | 50
9 | 310-0001-01-001009 310-0001-01-001010 | 3.2 | Electric Actuator of the Damper | WSD-FK / KF-WSDJ-FKM | No,s | 50
10 | 310-0001-01-001011 | 3.3 | Silicon Rubber Sealing Member (Small) |  | No,s | 84
11 | 310-0001-01-001012 | 3.4 | Coliquable Plate (70c) |  | No,s | 100
12 | 310-0001-01-001013 | 3.5 | Coliquable Plate (280c) |  | No,s | 100
|  | 4 | Air Conditioner |  |  | -
|  | 4.1 | Blower Belts |  |  | -
13 | 310-0001-04-001014 | 1 |  | SPA-1060 | No,s | 28
14 |  | 2 |  | SPA-1900 | No,s | 32
|  | 4.2 | Filters |  | No,s | -
15 | 310-0001-04-001016 | 1 |  | DN-25 | No,s | 256
16 | 310-0001-04-001015 | 2 |  | DN-32 | No,s | 256
17 | 310-0001-04-001017 | 4.3 | Differential Pressure Switch | LF-32-05 | No,s | 6
18 | 310-0001-03-001018 | 4.4 | Air Exhausting Valve (2-Types) | 1.6 MPA | No,s | 8
19 | 310-0001-04-001019 | 4.5 | Drainage Valve | DN-20 | No,s | 6
20 | 310-0001-04-001020 | 4.6 | Targeting Flow Controller | LKB-01 | No,s | 3
21 | 310-0001-04-001021 | 4.7 | Temprature Sensor |  | No,s | 6
22 | 310-0001-04-001022 | 4.8 | Air Inlet Filter | YW1ZEA003 | No,s | 16
23 | 310-0001-04-001023 | 4.9 | Dry Filter | XH-9 | No,s | 8
24 | 310-0001-04-001024 | 4.10. |  | 11728006 | No,s | 16
25 | 310-0001-04-001025 | 4.11 | Ac Contactor | CJX9B-255/00 | No,s | 4
26 | 310-0001-04-001026 | 4.12 | Refrigerant / Gas | R-22 | Kgs | 172
27 | 310-0001-04-001027 | 4.13 | Lubrication Oil |  | Kan | 24
28 | 310-0001-04-001028 310-0001-04-001029 | 4.14 | High -Low Pressure Switch | YK-4.2/3.6 | No,s | 2
29 | 310-0001-04-001030 | 4.15 | Multi Unit Compressor | GMV-615WN/B-X | No,s | 17
|  | 4.16 | Multi Unit Fan Motor (3-Types) |  |  | -
30 | 310-0001-04-001031 | 1 |  | ZWS60-S | No,s | 5
31 | 310-0001-04-001032 | 2 |  | FG150A-ZL | No,s | 3
32 | 310-0001-00-001097 | 3 |  | FG200A-ZL | No,s | 2
33 | 310-0001-04-001033 | 4 |  | ZWS350-B | No,s | 1
34 | 310-0001-04-001034 | 5 |  | ZWS750-C | No,s | 13
35 | 310-0001-04-001035 | 6 |  | FN60-C | No,s | 13
36 | 310-0001-04-001036 | 7 |  | FN35 B-ZL | No,s | 1
37 | 310-0001-04-001037 | 8 |  | ZWS250-A1 | No,s | 1
|  | 4.17 | Controle Panel of Multi Unit |  |  | -
38 | 310-0001-04-001038 310-0001-04-001039 310-0001-04-001040 310-0001-04-001041 310-0001-04-001042 | 1 |  | Z6L35K | No,s | 3
39 |  | 2 |  | Z6L25L | No,s | 2
40 | 310-0001-04-001043 310-0001-04-001044 310-0001-04-001045 310-0001-04-001046 | 4.18 | Invertor Panel of Multi Unit | WZCD3A | No,s | 8
41 | 310-0001-04-001047 | 4.19 | High / Low Pressure Sensor | GMV615MN/B-X | No,s | 15
42 | 310-0001-04-001048 | 4.20, | Four Opening Valve | GMV615MN/B-X | No,s | 15
|  | 5 | Pumps |  | No,s | -
43 | 310-0001-00-001049 | 5.1 | Bearing Body for Pumps |  | No,s | 2
|  | 5.2 | Bearing |  | No,s | -
44 | 310-0001-00-001050 | 1 |  | ENSS 5 1802 | No,s | 6
45 | 310-0001-00-001051 | 2 |  | ENSS 703 | No,s | 10
46 | 310-0001-00-001052 | 3 |  | ENSS 801 | No,s | 8
|  | 5.3 | Mechanical Seal |  | No,s | -
47 | 310-0001-00-001053 | 1 | Seal | KQFGL-18 | No,s | 2
48 | 310-0001-00-001054 | 2 | Seal | KQFGL-14 | No,s | 16
49 | 310-0001-00-001055 | 3 | Seal | KQMG 1/35 | No,s | 8
|  | 6 | Cooling Tower |  |  | -
50 | 310-0001-03-001056 | 6.1 | Motor and Bearing | 125 m3 | No,s | 1
51 | 310-0001-03-001057 | 6.2 | Motor and Bearing | 300 m3 | No,s | 2
52 | 310-0001-03-001058 | 6.3 | Decelator and Bearing |  | No,s | 2
53 | 310-0001-03-001059 | 6.4 | Fan | 300 m3 | No,s | 2
54 | 310-0001-03-001060 | 6.5 | Fan | 125 m3 | No,s | 1
55 | 310-0001-03-001061 | 6.6 | Filling (Green Sheet) |  | MTR | 6
56 | 310-0001-03-001062 | 6.7 | Ball Float |  | No,s | 3
57 | 310-0001-03-001063 | 6.8 | Nozzle |  | No,s | 24
58 | 310-0001-03-001064 | 6.9 | Belt (V-Belt) |  | No,s | 8
59 | 310-0001-03-001065 | 6.10, | Binding Plate for Material Filling |  | No,s | 2
|  | 7 | Special Tools (Air Conditioning) |  |  | -
60 | 310-0001-00-001066 | 7.1 | Flourin Adding Machine | HS-760 | No,s | 1
61 | 310-0001-00-001067 | 7.2 | Flourin Collecting Bottle |  | No,s | 1
62 | 310-0001-00-001068 | 7.3 | Liquid ading Meter | CH-2685 | No,s | 1
63 | 310-0001-00-001069 | 7.4 | Machine Repair Kit | 12.5 mm | No,s | 2
64 | 310-0001-00-001070 | 7.5 | Pipe Wrench |  | No,s | 2
65 | 310-0001-00-001071 | 7.6 | Electronic Wind Speed Tester | UT361 | No,s | 1
66 | 310-0001-00-001072 | 7.7 | Electronic Noise Tester | UT351 | No,s | 1
67 | 310-0001-00-001073 | 7.8 | Electronic Micropressure Tester | AR907 | No,s | 1
68 | 310-0001-00-001074 | 7.9 | Digit Clip Style Ammeter (Clamp Meter) | UT201 | No,s | 3
69 | 310-0001-00-001075 | 7.10, | Standard Pressure Guage | Y100-16 | No,s | 4
70 | 310-0001-00-001076 | 7.11 | Standard Pressure Guage | Y100-16 | No,s | 4
71 | 310-0001-00-001077 | 7.12 | Mercury Thermometer | .10-50 | No,s | 12
72 | 310-0001-00-001078 | 7.13 | Single Phase AC Welding Machine | ZXT-2501 | No,s | 1
73 | 310-0001-00-001079 | 7.14 | Bench Vice | 250 mm | No,s | 2
|  | 7.15 | Bench Vice |  |  | -
74 | 310-0001-00-001082 | 1 | Bench Vice | 125 mm | No,s | 1
75 | 310-0001-00-001081 | 2 | Bench Vice | 150 mm | No,s | 1
76 | 310-0001-00-001080 | 3 | Bench Vice | 200 mm | No,s | 2
77 | 310-0001-00-001083 | 7.16 | Bench Drilling Machine | ZQ4119 | No,s | 1
78 | 310-0001-00-001084 | 7.17 | Hand Held Electric Drill | JIZ-FF02-6A | No,s | 3
79 | 310-0001-00-001085 | 7.18 | Hand Held Electric Drill | GBH2-26E | No,s | 3
80 | 310-0001-00-001086 | 7.19 | Electric Impact Drill | TSB-5500 | No,s | 2
81 | 310-0001-00-001087 | 7.20, | Electric Impact Drill | GSB20-2 | No,s | 2
82 | 310-0001-00-001088 | 7.21 | Electric Grinder | MQ3225 | No,s | 1
83 | 310-0001-00-001089 | 7.22 | Electric Section Material Cutting Machine | J1G-FM-355 | No,s | 1
84 | 310-0001-00-001090 | 7.23 | Humiture Meter | AR847 | No,s | 1
85 | 310-0001-00-001091 | 7.24 | Special Tool for Demounting Tunnel Fans and Motors | OX205D | No,s | 1
86 | 310-0001-00-001092 | 7.25 | Pipe Line Leak Tester | XP-1A | No,s | 1
87 | 310-0001-00-001093 | 7.26 | Electric Air Valve Electric Controle Valve Portable Box | JSDFD-2000 | No,s | 35
88 | 310-0001-00-001094 | 7.27 | Electric Fireproof Valve Portable Box | JSDFD-1000 | No,s | 30

## iLumination
System Received on 09/10/2020
Sr. # | IMIS Code | Ilumination (Spares Inventory)
|  | BOQ # | Item Detail | UOM | Current Balance
1 | 303-0001-01-001001 | 2.1.1 | Breaker | No,s | 100
2 | 303-0001-01-001002 | 2.1.2 | Indicator Light white | No,s | 82
3 |  | 2.1.2 | Push Button Red | No,s | 52
4 |  | 2.1.2 | Inndicator Light Red | No,s | 80
5 |  | 2.1.2 | Indicator Light Green | No,s | 80
6 |  | 2.1.2 | Push Button Green | No,s | 54
7 |  | 2.1.2 | Indicator Light Yellow | No,s | 80
8 |  | 2.1.2 | Slectors Switch (Knob) | No,s | 80
9 | 303-0001-01-001003 | 2.2.1 | Battery 38V | No,s | 9
10 |  | 2.2.1 | Battery 65V | No,s | 15
11 |  | 2.2.1 | Battery 100 V | No,s | 19
12 |  | 2.2.1 | Battery 120V | No,s | 7
13 | 303-0001-02-001004 | 2.3.1 | Moisture Proof Lamp (Safety Light) | No,s | 500
14 |  | 2.3.1 | LED Lamp 8-Watt for Moisture Proof Lamp | No,s | 500
15 |  | 2.3.1 | Anti Fog Down Light 8" Screw Type | No,s | 50
16 |  | 2.3.1 | Office Lights 36-Watt (Tube Light) | No,s | 120
17 |  | 2.3.1 | Tube Rods 36-Watt for (Tube Light) | No,s | 293
18 |  | 2.3.1 | Panel Light LED 40-Watt | No,s | 1
19 |  | 2.3.1 | LED Down Light (Honyar) HYTD-80 Watt | No,s | 20
20 |  | 2.3.1 | 8" Verticle Screw Type Down Light (HYTD 180 B) | No,s | 50
21 |  | 2.3.1 | LED Bath & Kitchen Light 18-Watt Type-1 | No,s | 10
22 |  | 2.3.1 | LED Bath & Kitchen Light 18-Watt Type-2 | No,s | 20
23 |  | 2.3.1 | LED 200-Watt (FBD-200) | No,s | 20
24 |  | 2.3.1 | Mirror Front Lamp 7-W (Honyar) HYZJQD 107 DZ | No,s | 10
25 |  | 2.3.1 | T-8 Bracket Flouricent Lamp 40-Watt | No,s | 42
26 |  | 2.3.1 | International Lighting F/FE 18-Watt | No,s | 150
27 |  | 2.3.1 | 18-Watt ( Spare Rods) | No,s | 150
28 |  | 2.3.1 | Exit indicator (2-Way) | No,s | 96
29 |  | 2.3.1 | Right Indicator | No,s | -
30 |  | 2.3.1 | Left Side Indicator | No,s | -
31 |  | 2.3.1 | Alum. 6" Ceiling LED Decoration Light (Honyar) 12-W | No,s | 20 | 0
32 | 303-0001-02-001005 | 2.4.1 | Switch 1 button | No,s | 395
33 |  | 2.4.1 | 2 Bit Button | No,s | 380
34 |  | 2.4.1 | 4 Bit Button | No,s | 40
35 |  | 2.4.1 | 4 Bit Large Button | No,s | 34
36 |  | 2.4.1 | Routry Switch | No,s | 17
37 |  | 2.4.1 | Double Routry | No,s | 17
38 |  | 2.4.1 | 3 Bit Button | No,s | 117
39 | 303-0001-02-001006 | 2.4.2 | 5 Pole Socket 16 Am | No,s | 280
40 |  | 2.4.2 | 5 Pole Socket with cover Lock | No,s | 40
41 |  | 2.4.2 | 3 Pole socket with 1 button 13,Am | No,s | 100
42 |  | 2.4.2 | Socket 10 Am | No,s | 70
43 |  | 2.4.2 | 4 Pole 25 Amp | No,s | 50
44 |  | 2.4.2 | Socket 32 Amp | No,s | 100
45 |  | 2.4.2 | 3 Pole socket with 1 button | No,s | 240
46 |  | 2.4.2 | 4 Pole SQ Socket | No,s | 50
47 |  | 2.4.2 | 5 Pole SQ socket | No,s | 50
48 | 303-0001-03-001007 | 2.5.1 | Cable Roll(WDZB-YjY-23)3X25+1X16 | Meter | 400
49 |  | 2.5.1 | Cable Roll(WDZB-YjY-1)3X25+2X16 | Meter | 155
50 |  | 2.5.1 | Cable Roll(WDZB-YjY1 (5X16) | Meter | 700
51 |  | 2.5.1 | Cable Roll(WDZB-YjY-1(3X70+2X35) | Meter | 500
52 |  | 2.5.1 | Cable Roll(WDZB-YjY-1(3X120+2X70) | Meter | 400
53 |  | 2.5.1 | Cable Roll(WDZBN-KYjY(4X1.5) | Meter | 2299
54 |  | 2.5.1 | Cable Roll(WDZBN-KYJY)10X1.5 | Meter | 400
55 | 303-0001-04-001008 | 2.6.1 | Blue colour Phase Wire 10mm | Meter | 1000
56 |  | 2.6.1 | Yellow Earth Wire 16mm | Meter | 500
57 |  | 2.6.1 | Green colour Phase Wire 10mm | Meter | 1000
58 |  | 2.6.1 | Yellow colour Phase wire 10mm | Meter | 935
59 |  | 2.6.1 | Yellow colour Roll (1x150)-25mm (150 x 5 =750) | Meter | 750
60 |  | 2.6.1 | Blue colour Roll(1x100)-16mm (100 x 2 = 200) | Meter | 200
61 |  | 2.6.1 | Green colour Roll(1x100)-16mm (100 x 2 = 200) | Meter | 200
62 |  | 2.6.1 | Red colour Roll(1x100)-16mm (100 x 2 = 200) | Meter | 200
63 |  | 2.6.1 | Yellow Colour Roll(1X100)-16mm (100 x 3 = 300) | Meter | 300
64 |  | 2.6.1 | (Yellow+Green)Earth wire Roll(1x100)-16mm | Meter | 100
65 |  | 2.6.1 | Blue Colour Wire Roll 25-mm (150 x 1) | Meter | 150
66 |  | 2.6.1 | Blue Colour Wire 25-mm (150 x 1) | Meter | 150
67 |  | 2.6.1 | Red Colour Phase Wire 10-mm | Meter | 815
68 |  | 2.6.1 | Red Colour Wire 35-mm | Meter | 250
69 |  | 2.6.1 | Blure Colour Wire 16-mm | Meter | 250
70 |  | 2.6.1 | Red Colour Wire 16-mm | Meter | 500
71 |  | 2.6.1 | Red Colour Wire 25-mm | Meter | 750
72 |  | 2.6.1 | Green Colour Wire 35-mm | Meter | 250
73 |  | 2.6.1 | Green Colour Wire 16-mm | Meter | 245
74 |  | 2.6.1 | Blue Colour Wire Roll 35-mm | Meter | 244
75 |  | 2.6.1 | Yellow Colour Wire 35-mm | Meter | 250
76 |  | 2.6.1 | Green Colour Wire 25-mm | Meter | 550
77 |  | 2.6.1 | Blue Colour Wire 25-mm | Meter | 80
78 |  | 2.6.1 | Cable Roll(WDZBN-KJYJ)14X1.5 | Meter | 325
79 | 303-0001-03-001009 | 2.7.1 | Shrinkable Cable Sleeve (70 x 120) 2-Boxes | RFT | 100
80 | 303-0001-05-001010 | 2.8.1 | FIRE Mud 1-Bag x 20-Kgs 10-Bags | KG | 200
| 2.3.1 | In lights section there are 946-Tubes & Shells are included (Hided) |  | -943 | No,s
| 2.5.1 | Single Core Wires will be minus from IMIS stock |  | -994 | MTR
| 2.6.1 |  |  | -244 | MTR
| 2.1.2 | Push Buttons & Indicator lights will be minus from IMIS |  | -8 | No,s

## PSD
System Received on 22/03/2021 & Completed on 07/05/21
Sr. # | IMIS Codes | BOQ # | PSD (Spares Inventory) | Part # | UOM | Current Balance
|  | 1 | PSD (Spares Parts)
1 | 315-0001-01-001001 | 1.1 | DCU for PSD |  | No,s | 1
2 | 315-0001-01-001002 | 1.2 | PSD Motor and Components Including Cables |  | No,s | 1
3 | 315-0001-01-001003 | 1.3 | Locking Device Body for PSD (Excl. Shackle) |  | No,s | 1
4 | 315-0001-01-001004 | 1.4 | Hub for PSD |  | No,s | 1
5 | 315-0001-01-001005 | 1.5 | Arcnet Terminator for PSD |  | No,s | 2
6 | 315-0001-01-001006 | 1.6 | Limit Switch for PSD |  | No,s | 2
7 | 315-0001-01-001007 | 1.7 | PSL for PSD |  | No,s | 1
8 | 315-0001-03-001008 | 1.8 | Guide Pulley for PSD |  | No,s | 5
9 | 315-0001-03-001009 | 1.9 | Head Box Cover Lock for PSD |  | No,s | 5
10 | 315-0001-03-001010 | 1.10, | Left ASD and Components (incl. indicators & LCB) | Only 2-Indicators rcvd | No,s | 2
11 | 315-0001-03-001011 | 1.11 | Right ASD and Components (incl. indicators + LCB) | (1-Short from BOQ) | No,s | 2
12 | 315-0001-03-001012 | 1.12 | Fixed Panel Glass for PSD |  | No,s | 1
13 | 315-0001-03-001013 | 1.13 | EED Glass for PSD |  | No,s | 1
14 | 315-0001-03-001014 | 1.14 | DOI Circuit Board for PSD |  | No,s | 5
15 | 315-0001-03-001015 | 1.15 | ASD Unlocking Components for PSD |  | No,s | 5
16 | 315-0001-03-001016 | 1.16 | EED Unlocking Components (BRKT+Rod+Asmbly+Spring) |  | Set | 5
17 | 315-0001-03-001017 | 1.17 | Belt for PSD |  | No,s | 5
18 | 315-0001-03-001018 | 1.18 | Guide Shoe |  | No,s | 10
19 | 315-0001-03-001019 | 1.19 | Front Cover Stay |  | No,s | 5
20 | 315-0001-05-001020 | 1.20, | Carbon Brush for PSD (Rusted) |  | No,s | 10
21 | 315-0001-02-001021 | 1.21 | Microswitch |  | No,s | 5
22 | 315-0001-03-001022 | 1.22 | idle Pulley for PSD |  | No,s | 2
23 | 315-0001-03-001023 | 1.23 | Rolling Pulley | (4-Short from BOQ) | No,s | 10
24 | 315-0001-03-001024 | 1.24 | Guide Rail |  | No,s | 2
25 | 315-0001-03-001025 | 1.25 | ASD Hanger Components | (Not Received) | No,s | 1
26 | 315-0001-03-001026 | 1.26 | ASD Leading Edge Seals |  | No,s | 10
27 | 315-0001-03-001027 | 1.27 | EED Rubber Strip (1 Contains 2-Pcs) | (1 Contains 2-Pcs) | No,s | 5
28 | 315-0001-03-001028 | 1.28 | ASD Brush for PSD |  | No,s | 3
29 | 315-0001-03-001029 | 1.29 | EED Brush |  | No,s | 2
|  | 2 | APG Spare Parts |  |  | -
30 | 315-0001-01-001030 | 2.1 | DCU for APG | (14-Short from BOQ) | No,s | 20
31 | 315-0001-01-001031 | 2.2 | APG Motor and Components (Including Cables) |  | Set | 10
32 | 315-0001-01-001032 | 2.3 | Locking Device and Wires | Left | No,s | 10
33 | 315-0001-01-001033 | 2.4 | Locking Device and Wires | Right | No,s | 10
34 | 315-0001-01-001034 | 2.5 | PEDC | (5-Short from BOQ) | No,s | 4
35 | 315-0001-03-001035 | 2.6 | ASD Unlocking Components for APG |  | No,s | 30
36 | 315-0001-03-001036 | 2.7 | EED Unlocking Components for APG | (Not Received) | No,s | 20
37 | 315-0001-03-001037 | 2.8 | ASD Thresholdnfor APG |  | No,s | 10
38 | 315-0001-03-001038 | 2.9 | Gap Filler (of 2-Types) 23 + 2 |  | No,s | 25
39 | 315-0001-03-001039 | 2.10, | Insulating Washer for APG |  | No,s | 35
40 | 315-0001-04-001040 | 2.11 | Timing Belt for APG |  | No,s | 30
41 | 315-0001-02-001041 | 2.12 | Limit Switch for APG |  | No,s | 10
42 | 315-0001-01-001042 | 2.13 | PSL for APG |  | No,s | 5
|  | 3 | PSD (Special Tools) |  |  | -
43 | 315-0001-00-001043 | 3.1 | Glass Suction Cup |  | No,s | 26
44 | 315-0001-00-001044 | 3.2 | Portable Laptop (PTE) | PTE | No,s | 4
45 | 315-0001-00-001045 | 3.3 | Dyna Meter |  | No,s | 3
46 | 315-0001-00-001046 | 3.4 | Tension Regulator (4-Type of Tools) |  | No,s | 10
47 | 315-0001-00-001047 | 3.5 | Multimeter |  | No,s | 5
48 | 315-0001-00-001048 | 3.6 | Simulator for Testing with BAS |  | No,s | 5
49 | 315-0001-00-001049 | 3.7 | Network Tester |  | No,s | 5
50 | 315-0001-00-001050 | 3.8 | Battery Charging and Discharging Device |  | No,s | 1

## Sanitary
Sr. # | IMIS Codes | (Sanitary Items Inventory) | Part # | UOM | Current Balance
1 | 327-0001-00-001001 | Muslim Faucet (Shower) | Chromed Plastic | No,s | -
2 | 327-0001-00-001002 | Steel Pot / Ewer |  | No,s | 27
3 | 327-0001-00-001003 | Chain | Steel | No,s | 29
4 | 327-0001-00-001004 | Faucet (Tap) | Plastic | No,s | 567
5 | 327-0001-00-001005 | "Tee" Steel (3-way Valve) | 1/2" | No,s | 443
6 | 327-0001-00-001006 | Raw Material Belt / Teflon Tape | Taflon Tape | No,s | 104
7 | 327-0001-00-001007 | Conector 1/2" (Barrel Nipple) | Nipple 1/2" | No,s | 10

## WSD
System Received on 27/11/2020
Sr # | IMIS Codes | BOQ # | WSD & Fire Fighting (Spares Inventory) |  | UOM
|  | 1.1 | Fire Pump Accessories |  | LOT
1 | 311-111-01-001002 | 1.1.1 | Sealing Rubber Ring | East Pump | Pcs | 20
2 | 311-111-02-001003 | 1.1.2 | Switch 125-Amp | 125-Amp | Pcs | 2
3 | 311-111-03-001004 | 1.1.3 | AC Contactor | 75-22 | Pcs | 1
4 | 311-111-03-001005 | 1.1.4 | Relay Base |  | Pcs | 20
5 | 311-111-04-001006 | 1.1.5 | Switching Power Supply | 25-W, 24-V, 1.1-A | Pcs | 5
6 | 311-111-05-001007 | 1.1.6 | Stop Button | Taidian | Pcs | 5
7 | 311-111-05-001008 | 1.1.7 | Start Button | Taidian | Pcs | 5
8 | 311-111-06-001009 | 1.1.8 | Transformer 12-Volt | Deldci | Pcs | 8
9 | 311-111-07-001010 | 1.1.9 | PLC | Siemens | Pcs | 1
10 | 311-111-03-001011 | 1.1.10 | Intermediate Relay 24-Volt | 24-V Tengen | Pcs | 5
11 | 311-111-03-001012 | 1.1.11 | Intermediate Relay 220-Volt | 220-V Tengen | Pcs | 5
12 | 311-111-00-001013 | 1.1.12 | Fuse 10-Amp | 10-Amp | Pcs | 10
13 | 311-111-08-001014 | 1.2 | Alarm Valve DN-100 | ZSFZ 100 | Pcs | 2
14 | 311-111-00-001116 | 1.3 | Water Flow Indicator DN-150 | ZSJZ 150 | Pcs | 3
15 | 311-111-08-001015 | 1.3.1 | Water Flow Indicator DN-100 | ZSJZ 100 | Pcs | 3
16 | 311-111-00-001117 | 1.3.2 | Water Flow Indicator DN-80 | ZSJZ 80 | Pcs | 2
17 | 311-111-00-001118 | 1.3.3 | Water Flow Indicator DN-65 | ZSJZ 65 | Pcs | 2
18 | 311-111-08-001016 | 1.4 | Signal Valve DN-65 | ZSXF-65 | Pcs | 3
19 | 311-111-09-001017 | 1.5 | Flygate DN150 / Sluce Valve DN150 | Z41X-16Q | Pcs | 3
20 | 311-111-10-001018 | 1.6 | Extinguisher Cylinder Dry Powder (Amonium Phosphate) | MFZ/ABC5D | Pcs | 25
21 | 311-111-09-001019 | 1.7 | End Water Test Equipments DN25 | DN25 | Pcs | 10
22 | 311-111-09-001020 | 1.8 | Safety Relief Valve DN65 | 500X-16C | Pcs | 2
23 | 311-111-09-001021 | 1.9 | Wash Out Valve DN65 | Z45X-16Q | Pcs | 5
24 | 311-111-08-001022 | 1.1 | Spray Header DN25 K-80 | K=80 | Pcs | 50
25 | 311-111-09-001023 | 1.11 | Hydraulic Ball Float Valve DN50 | F745X-16C | Pcs | 2
26 | 311-111-11-001024 | 1.12 | Electric Contact Pressure Guage DN150 | DN150 | Pcs | 2
27 | 311-111-11-001025 | 1.13 | Pressure Guage Y-150 | Y-150 | Pcs | 5
28 | 311-111-09-001026 | 1.14 | Sluice Valve DN150 | Z41X-16Q | Pcs | 2
29 | 311-111-09-001027 | 1.15 | Check Valve DN65 | DN65 | Pcs | 3
|  | 1.16 | Fighting Pipes & Accessories |  |  | -
30 | 311-111-01-001029 | 1.16.1 | "T" DN150 | DN150 | Pcs | 10
31 | 311-111-01-001030 | 1.16.2 | Elbow DN150 | DN150 | Pcs | 10
32 | 311-111-01-001031 | 1.16.3 | Groove Fitting DN150 | DN150 | Pcs | 20
33 | 311-111-01-001032 | 1.16.4 | Elbow DN90 | DN90 | Pcs | 10
34 | 311-111-01-001033 | 1.16.5 | Elbow DN40 | DN40 | Pcs | 10
35 | 311-111-01-001034 | 1.16.6 | Elbow DN25 | DN25 | Pcs | 10
36 | 311-111-01-001035 | 1.16.7 | "T" DN90 | DN90 | Pcs | 10
37 | 311-111-01-001036 | 1.16.8 | "T" DN 63 x 32 | DN63 x 32 | Pcs | 10
38 | 311-111-01-001037 | 1.16.9 | "T" DN 40 | DN40 | Pcs | 10
39 | 311-111-01-001038 | 1.16.10 | Adjustable Joints DN 32 x 25 | DN 32 x 25 | Pcs | 10
40 | 311-111-01-001039 | 1.16.11 | Adjustable Joints DN 25 x 15 | DN 25 x 15 | Pcs | 10
41 | 311-111-01-001040 | 1.16.12 | Direct Connector DN90 | DN 90 | Pcs | 10
42 | 311-111-01-001041 | 1.16.13 | Fighting Pipe DN 150 | DN150 | Pcs | 2
43 | 311-111-01-001042 | 1.16.14 | Fighting Pipe DN 100 | DN 100 | Pcs | 2
44 | 311-111-01-001043 | 1.16.15 | Fighting Pipe DN 65 | DN 65 | Pcs | 2
45 | 311-111-01-001044 | 1.16.16 | Fighting Pipe DN 50 | DN 50 | Pcs | 2
46 | 311-111-01-001045 | 1.16.17 | Fighting Pipe DN 40 | DN 40 | Pcs | 2
47 | 311-111-01-001046 | 1.16.18 | Fighting Pipe DN 32 | DN 32 | Pcs | 2
|  | 1.17 | Fighting Pipes & Accessories |  |  | -
48 | 311-111-12-001048 | 1.17.1 | Cutting Machine | B-2 | Pcs | 1
49 | 311-111-00-001049 | 1.17.2 | China Pipe Wrench 4" | 4" | Pcs | 1
50 | 311-111-13-001050 | 1.17.3 | Pipe Wrench 900 mm | 900 mm | Pcs | 2
51 | 311-111-14-001051 | 1.17.4 | Socket Wrench 12.5 mm | 12.5 mm | Pcs | 2
|  | 2 | Water Supply & Drainage Spare Parts |  |  | -
|  | 2.1 | Accessories |  | Lot | -
52 | 311-111-00-001108 | 2.1.1 | Frequency Converter (1.5-KW) | ACS 510 (ABB) | Pcs | 1
53 | 311-111-00-001109 | 2.1.2 | Machinery Seal |  | Pcs | 4
54 | 311-111-00-001110 | 2.1.3 | Machinery Seal (0.75 KW) |  | Pcs | 2
55 | 311-111-00-001111 | 2.1.4 | Machinery Seal (1.5 KW) |  | Pcs | 4
56 | 311-111-00-001112 | 2.1.5 | Machinery Seal (7.5 KW) |  | Pcs | 3
57 | 311-111-00-001113 | 2.1.6 | Sewage Lifting Equipment Spare Parts |  | Pcs | 2
58 | 311-111-00-001114 | 2.1.7 | Stop Button |  | Pcs | 5
59 | 311-111-00-001115 | 2.1.8 | Start Button |  | Pcs | 5
60 | 311-111-15-001053 | 2.3 | Hand Basin | W5123 | Pcs | 3
61 | 311-111-15-001054 | 2.4 | Slop Sink West Bank | W0415 | Pcs | -
62 | 311-111-15-001055 | 2.5 | Disabled Toilet Seat | W1001 A05T/FYQ | Pcs | 1
63 | 311-111-15-001056 | 2.6 | Squatting Stool Pan (W.C) | W09890500QB | Pcs | 10
64 | 311-0002-00-000201 | 2.6 A | Flushing Tank |  | Pcs | 2
65 | 311-111-15-001057 | 2.7 | Tap | Dongpeng | Pcs | 20
66 | 311-111-15-001058 | 2.8 | Automatic Air Valve DN 15 | DN 15 | Pcs | 10
67 | 311-111-09-001059 | 2.9 | Cut Off Valve DN 40 | DN 40 | Pcs | 15
68 | 311-111-09-001060 | 2.1 | Cut Off Valve DN 32 | DN 32 | Pcs | 15
69 | 311-111-09-001061 | 2.11 | Cut Off Valve DN 25 | DN 25 | Pcs | 15
70 | 311-111-09-001062 | 2.12 | Slow Closure Check Valve DN 80 | XC41X-10C | Pcs | 10
71 | 311-111-09-001063 | 2.13 | Hydraulic Ball Float Valve DN 25 | F745X-16C | Pcs | 3
72 | 311-111-09-001064 | 2.14 | Floor Drain DN 50 | DN 50 | Pcs | 16
73 | 311-0001-09-001119 | 2.14.1 | Floor Drain DN 100 | DN 100 | Pcs | 1
74 | 311-111-09-001065 | 2.15 | Flexible Rubber Joint DN 80 | DN 80 | Pcs | 10
75 | 311-111-16-001066 | 2.16 | Metal Bellow DN 150 | DN 150 | Pcs | 15
76 | 311-111-16-001067 | 2.17 | Expansion Joint | DE 110 | Pcs | 30
77 | 311-111-16-001068 | 2.18 | Bath Trap De 110 | DE 110 | Pcs | 15
|  | 2.19 | Water Supply & Drainage Accessories |  | Lot | -
78 | 311-0001-16-001070 | 2.19.1 | Drainage Pipe DN 110 | DN 110 | Pcs | 5
79 | 311-0001-16-001071 | 2.19.2 | Elbow De 110 x 45 | DE 110 x 45 | Pcs | 10
80 | 311-0001-16-001072 | 2.19.3 | Elbow De 75 x 90 | DE 75 x 90 | Pcs | 10
81 | 311-0001-16-001073 | 2.19.4 | "T" De 110 | DE 110 | Pcs | 10
82 | 311-0001-16-001074 | 2.19.5 | "T" De 75 | DE 75 | Pcs | 10
83 | 311-0001-16-001075 | 2.19.6 | "T" De 110 x 75 | DE 110 x 75 | Pcs | 10
84 | 311-0001-16-001076 | 2.19.7 | "T" De 110 x 50 | DE 110 x 50 | Pcs | 10
85 | 311-0001-16-001077 | 2.19.8 | Pipe Hoop De 110 | DE 110 | Pcs | 10
86 | 311-0001-16-001078 | 2.19.9 | Water Supply Pipe De 75 | DE 75 | Pcs | 4
87 | 311-0001-16-001079 | 2.19.10 | Water Supply Pipe De 63 | DE 63 | Pcs | 4
88 | 311-0001-16-001080 | 2.19.11 | Water Supply Pipe De 50 | DE 50 | Pcs | 4
89 | 311-0001-16-001081 | 2.19.12 | Water Supply Pipe De 40 | DE 40 | Pcs | 4
90 | 311-0001-16-001082 | 2.19.13 | Water Supply Pipe De 32 | DE 32 | Pcs | 4
91 | 311-0001-16-001083 | 2.19.14 | Water Supply Pipe De 25 | DE 25 | Pcs | 4
92 | 311-0001-16-001084 | 2.19.15 | Male Thread Directly De 75 x 50 | DE 75 x 50 | Pcs | 10
93 | 311-0001-16-001085 | 2.19.16 | Internal Thread Directly De 40 x 32 | DE 40 x 32 | Pcs | 10
94 | 311-0001-16-001086 | 2.19.17 | Male Thread Directly De 40 x 32 | DE 40 x 32 | Pcs | 10
95 | 311-0001-16-001087 | 2.19.18 | Male Thread Directly De 25 | DE 25 | Pcs | 10
96 | 311-0001-16-001088 | 2.19.19 | Elbow De 90 x 90 | DE 90 x 90 | Pcs | 10
97 | 311-0001-16-001089 | 2.19.20 | Elbow De 75 x 90 | DE 75 x 90 | Pcs | 10
98 | 311-0001-16-001090 | 2.19.21 | Elbow De 63 x 90 | DE 63 x 90 | Pcs | 10
99 | 311-0001-16-001091 | 2.19.22 | Elbow De 40 x 25 | DE 40 x 25 | Pcs | 10
100 | 311-0001-16-001092 | 2.19.23 | Tee De 75 | DE 75 | Pcs | 10
101 | 311-0001-16-001093 | 2.19.24 | Tee De 63 | DE 63 | Pcs | 10
102 | 311-0001-16-001094 | 2.19.25 | Tee De 32 | DE 32 | Pcs | 10
103 | 311-0001-16-001095 | 2.19.26 | Tee De 25 | DE 25 | Pcs | 10
104 | 311-0001-16-001096 | 2.19.27 | Tee De 50 x 25 | DE 50 x 25 | Pcs | 10
105 | 311-0001-16-001097 | 2.19.28 | Tee De 63 x 32 | DE 63 x 32 | Pcs | 10
106 | 311-0001-16-001098 | 2.19.29 | Tee De 75 x 32 | DE 75 x 32 | Pcs | 10
107 | 311-0001-16-001099 | 2.19.30 | Tee De 32 x 1/2" | DE 32 | Pcs | 10
108 | 311-0001-16-001100 | 2.19.31 | Adjustable Joints De 75 x 63 | DE 75 x 63 | Pcs | 10
109 | 311-0001-16-001101 | 2.19.32 | Pipe Hoop De 63 | DE 63 | Pcs | 10
110 | 311-0001-16-001102 | 2.19.33 | Pipe Hoop De 50 | DE 50 | Pcs | 10
111 | 311-0001-16-001103 | 2.19.34 | Pipe Hoop De 40 | DE 40 | Pcs | 10
112 | 311-0001-16-001104 | 2.19.35 | Pipe Hoop De 25 | DE 25 | Pcs | 10
|  | 2.2 | Water Supply & Drainage Special Tools |  | LOT | -
113 | 311-0001-00-001106 | 2.20.1 | Hot Melt Welding Machine (PPR) | 75 - 110 mm | Set | 1
114 | 311-0001-00-001107 | 2.20.2 | Hot Melt Welding Machine (PE) | 50 - 150 mm | Set | 1

## Pscada
System Received on 11/11/2020
Sr. # | IMIS Codes | BOQ # | PSCADA System - (Spares Inventory) | Part # | UOM | Current Balance
1 | 323-0001-00-001001 | 1 | Multi Function Digital Multimeter | 15B+ | No,s | 5
2 | 323-0001-00-001002 | 2 | Network Cable Test Tool | MY-468 | No,s | 1
3 | 323-0001-00-001003 | 3 | Special Tool Unit | 89-883-53 | No,s | 2
4 | 323-0001-00-001004 | 4 | Test Pencil | SATA-62601 | No,s | 10
5 | 323-0001-00-001005 | 5 | Cable Maker for Control Network | 808-376C | No,s | 2
6 | 323-0001-00-001006 | 6 | Oscilloscope (2)+ Signal Generator (2) | UTG4082A + UP02072CS | Set | 2
7 | 323-0001-00-001007 | 7 | Handheld Lan Test Instruement | MS2-100 | No,s | 2
8 | 323-0001-00-001008 | 8 | Hard Disk | 600-G | No,s | 2
9 | 323-0001-00-001009 | 9 | Server Memory | 16G | No,s | 2
10 | 323-0001-00-001010 | 10 | DVD Rom for Server | GH24NSCO | No,s | 2
11 | 323-0001-00-001011 | 11 | Main CPU Board | XeonE5 | No,s | 3
12 | 323-0001-00-001012 | 12 | Workstation Hard Disk | 500-G | No,s | 3
13 | 323-0001-00-001013 | 13 | DVD Rom for Workstation | GH24NSCO | No,s | 2
14 | 323-0001-00-001014 | 14 | Network Card for Workstation | HSTNC-IN01 | No,s | 5
15 | 323-0001-00-001015 | 15 | Keyboard & Mouse for Workstation | J8F15AA | No,s | 10
16 | 323-0001-00-001016 | 16 | Graphics Card | NVIDIA NVS 510 | No,s | 3
17 | 323-0001-00-001017 | 17 | Display | HP-232 | No,s | 3
18 | 323-0001-00-001018 | 18 | Twisted Pair | DZR-RVVP22-2 x 0.75 | Lot | 1
19 | 323-0001-00-001019 | 19 | Optical Cable | GYTZA53 | Lot | 1
20 | 323-0001-00-001020 | 20 | Black & White Laser Printer Cartridge | HP | No,s | 5
21 | 323-0001-00-001021 | 21 | Color Laser Printer Cartridge | HP | No,s | 5