## FES
Sr. # | IMIS Code | BOQ # | FES (Spares Inventory) | Part # | UOM | Current Balance | Location
1 | 314-001-01-001001 | 1 | 70-LTR Extenguisher Cylinder (Empty) HFC-227 | QMP 70/4.2 | No,s | 42 | C&C Warehouse, Depot
2 | 314-001-01-001002 | 2 | High Pressure Flexible Metal Tubing (HFC) | JR 32 L 2-600 | No,s | 20 | C&C Warehouse, Depot
3 | 314-001-01-001003 | 3 | Pressure Switch | XF 0.8/17.2 | No,s | 10 | C&C Warehouse, Depot
4 | 314-001-01-001005 | 4 | Safety Valve (HFC) | QAX 7.5 | No,s | 5 | C&C Warehouse, Depot
5 | 314-001-01-001004 | 5 | Actuating Device (Small N2 Cylinders) | HQP4/6 | No,s | 8 | C&C Warehouse, Depot
6 | 314-001-01-001006 | 6 | Selector Valve DN 100 | HXZ 100/17.2-Y | No,s | 1 | C&C Warehouse, Depot
7 | 314-001-01-001007 | 7 | Selector Valve DN 80 | HXZ 80/17.2 | No,s | 1 | C&C Warehouse, Depot
8 | 314-001-01-001008 | 8 | Selector Valve DN 65 | HXZ 65/17.2 | No,s | 2 | C&C Warehouse, Depot
9 | 314-001-01-001009 | 9 | Selector Valve DN 50 | HXZ 50/17.2 | No,s | 2 | C&C Warehouse, Depot
10 | 314-001-01-001010 | 10 | Selector Valve DN 40 | HXZ 40/17.2 | No,s | 1 | C&C Warehouse, Depot
11 | 314-001-01-001011 | 11 | Selector Valve DN 32 | HXZ 32/17.2 | No,s | 1 | C&C Warehouse, Depot
12 | 314-001-01-001012 | 12 | Extinguishing Agent (HFC-227 ea) (GAS) | Gas is filled in Line item # 1 | Kgs | 2355 | C&C Warehouse, Depot
13 | 314-001-01-001013 | 13 | Gas Flow Check Valve | QD 6/6.6 | No,s | 5 | C&C Warehouse, Depot
14 | 314-001-01-001014 | 14 | Nozzle HFC - 227 | QPT XX/XX | No,s | 5 | C&C Warehouse, Depot
15 | 314-001-01-001015 | 15 | Leakage Alarm Unit- HFC | BXLQXX | No,s | 2 | C&C Warehouse, Depot
16 | 314-001-01-001016 | 16 | Low Venting High Close Valve | HDG 0.5/8 | No,s | 5 | C&C Warehouse, Depot
17 | 314-001-01-001017 | 17 | CO2 Storage Cylinders (70-LTR) | EMP 70 | No,s | 50 | C&C Warehouse, Depot
18 | 314-001-01-001018 | 18 | High Pressure Flexible Metal Tubing (CO2) | JR 12 L 1-650 | No,s | 20 | C&C Warehouse, Depot
19 | 314-001-01-001019 | 19 | Safety Valve (CO2) | EAX 15 | No,s | 5 | C&C Warehouse, Depot
20 | 314-001-01-001020 | 20 | Weighing Device Co2 |  | No,s | 10 | C&C Warehouse, Depot
21 | 314-001-01-001021 | 21 | Co2 Nozzle | EPT xx/xx | No,s | 5 | C&C Warehouse, Depot
22 | 314-001-01-001022 | 22 | Leakage Alarm Unit- Co2 | BXLQXX | No,s | 2 | C&C Warehouse, Depot