## HVAC
Sr. # | IMIS Code | BOQ # | HVAC (Spares Inventory) | Part # | UOM | Current Balance | Location
|  | 1 | Motorized Damper Set
1 | 310-0001-01-001001 | 1.1 | Electric Actuator | SY4-230-3T | No,s | 1 | C&C Warehouse, Depot
2 | 310-0001-01-001002 | 1.2 | Silicon Rubber Sealing (3-Pcs) |  | Kgs | 12 | C&C Warehouse, Depot
|  | 2 | Fan |  |  | - | C&C Warehouse, Depot
3 | 310-0001-02-001003 | 2.1 | Reverseable Axial Fan Impeller | DTF-20 | No,s | 1 | C&C Warehouse, Depot
4 | 310-0001-02-001004 | 2.2 | Reverseable Axial Fan Motor | DTF-20 | No,s | 1 | C&C Warehouse, Depot
5 | 310-0001-02-001005 | 2.3 | Axial Fan Impeller | DTF-6.3-7.1 | No,s | 4 | C&C Warehouse, Depot
6 | 310-0001-02-001006 | 2.4 | Axial Fan Motor | DTF-6.3-7.2 | No,s | 4 | C&C Warehouse, Depot
7 | 310-0001-02-001007 | 2.5 | Special Grease | 1869678 | Kgs | 20 | C&C Warehouse, Depot
|  | 3 | Fire Proof Valve |  |  | - | C&C Warehouse, Depot
8 | 310-0001-01-001008 | 3.1 | Manual Smoke Dampers | DL-1 | No,s | 50 | C&C Warehouse, Depot
9 | 310-0001-01-001009 310-0001-01-001010 | 3.2 | Electric Actuator of the Damper | WSD-FK / KF-WSDJ-FKM | No,s | 50 | C&C Warehouse, Depot
10 | 310-0001-01-001011 | 3.3 | Silicon Rubber Sealing Member (Small) |  | No,s | 84 | C&C Warehouse, Depot
11 | 310-0001-01-001012 | 3.4 | Coliquable Plate (70c) |  | No,s | 100 | C&C Warehouse, Depot
12 | 310-0001-01-001013 | 3.5 | Coliquable Plate (280c) |  | No,s | 100 | C&C Warehouse, Depot
|  | 4 | Air Conditioner |  |  | - | C&C Warehouse, Depot
|  | 4.1 | Blower Belts |  |  | - | C&C Warehouse, Depot
13 | 310-0001-04-001014 | 1 |  | SPA-1060 | No,s | 28 | C&C Warehouse, Depot
14 |  | 2 |  | SPA-1900 | No,s | 32 | C&C Warehouse, Depot
|  | 4.2 | Filters |  | No,s | - | C&C Warehouse, Depot
15 | 310-0001-04-001016 | 1 |  | DN-25 | No,s | 256 | C&C Warehouse, Depot
16 | 310-0001-04-001015 | 2 |  | DN-32 | No,s | 256 | C&C Warehouse, Depot
17 | 310-0001-04-001017 | 4.3 | Differential Pressure Switch | LF-32-05 | No,s | 6 | C&C Warehouse, Depot
18 | 310-0001-03-001018 | 4.4 | Air Exhausting Valve (2-Types) | 1.6 MPA | No,s | 8 | C&C Warehouse, Depot
19 | 310-0001-04-001019 | 4.5 | Drainage Valve | DN-20 | No,s | 6 | C&C Warehouse, Depot
20 | 310-0001-04-001020 | 4.6 | Targeting Flow Controller | LKB-01 | No,s | 3 | C&C Warehouse, Depot
21 | 310-0001-04-001021 | 4.7 | Temprature Sensor |  | No,s | 6 | C&C Warehouse, Depot
22 | 310-0001-04-001022 | 4.8 | Air Inlet Filter | YW1ZEA003 | No,s | 16 | C&C Warehouse, Depot
23 | 310-0001-04-001023 | 4.9 | Dry Filter | XH-9 | No,s | 8 | C&C Warehouse, Depot
24 | 310-0001-04-001024 | 4.10. |  | 11728006 | No,s | 16 | C&C Warehouse, Depot
25 | 310-0001-04-001025 | 4.11 | Ac Contactor | CJX9B-255/00 | No,s | 4 | C&C Warehouse, Depot
26 | 310-0001-04-001026 | 4.12 | Refrigerant / Gas | R-22 | Kgs | 172 | C&C Warehouse, Depot
27 | 310-0001-04-001027 | 4.13 | Lubrication Oil |  | Kan | 24 | C&C Warehouse, Depot
28 | 310-0001-04-001028 310-0001-04-001029 | 4.14 | High -Low Pressure Switch | YK-4.2/3.6 | No,s | 2 | C&C Warehouse, Depot
29 | 310-0001-04-001030 | 4.15 | Multi Unit Compressor | GMV-615WN/B-X | No,s | 17 | C&C Warehouse, Depot
|  | 4.16 | Multi Unit Fan Motor (3-Types) |  |  | - | C&C Warehouse, Depot
30 | 310-0001-04-001031 | 1 |  | ZWS60-S | No,s | 5 | C&C Warehouse, Depot
31 | 310-0001-04-001032 | 2 |  | FG150A-ZL | No,s | 3 | C&C Warehouse, Depot
32 | 310-0001-00-001097 | 3 |  | FG200A-ZL | No,s | 2 | C&C Warehouse, Depot
33 | 310-0001-04-001033 | 4 |  | ZWS350-B | No,s | 1 | C&C Warehouse, Depot
34 | 310-0001-04-001034 | 5 |  | ZWS750-C | No,s | 13 | C&C Warehouse, Depot
35 | 310-0001-04-001035 | 6 |  | FN60-C | No,s | 13 | C&C Warehouse, Depot
36 | 310-0001-04-001036 | 7 |  | FN35 B-ZL | No,s | 1 | C&C Warehouse, Depot
37 | 310-0001-04-001037 | 8 |  | ZWS250-A1 | No,s | 1 | C&C Warehouse, Depot
|  | 4.17 | Controle Panel of Multi Unit |  |  | - | C&C Warehouse, Depot
38 | 310-0001-04-001038 310-0001-04-001039 310-0001-04-001040 310-0001-04-001041 310-0001-04-001042 | 1 |  | Z6L35K | No,s | 3 | C&C Warehouse, Depot
39 |  | 2 |  | Z6L25L | No,s | 2 | C&C Warehouse, Depot
40 | 310-0001-04-001043 310-0001-04-001044 310-0001-04-001045 310-0001-04-001046 | 4.18 | Invertor Panel of Multi Unit | WZCD3A | No,s | 8 | C&C Warehouse, Depot
41 | 310-0001-04-001047 | 4.19 | High / Low Pressure Sensor | GMV615MN/B-X | No,s | 15 | C&C Warehouse, Depot
42 | 310-0001-04-001048 | 4.20, | Four Opening Valve | GMV615MN/B-X | No,s | 15 | C&C Warehouse, Depot
|  | 5 | Pumps |  | No,s | - | C&C Warehouse, Depot
43 | 310-0001-00-001049 | 5.1 | Bearing Body for Pumps |  | No,s | 2 | C&C Warehouse, Depot
|  | 5.2 | Bearing |  | No,s | - | C&C Warehouse, Depot
44 | 310-0001-00-001050 | 1 |  | ENSS 5 1802 | No,s | 6 | C&C Warehouse, Depot
45 | 310-0001-00-001051 | 2 |  | ENSS 703 | No,s | 10 | C&C Warehouse, Depot
46 | 310-0001-00-001052 | 3 |  | ENSS 801 | No,s | 8 | C&C Warehouse, Depot
|  | 5.3 | Mechanical Seal |  | No,s | - | C&C Warehouse, Depot
47 | 310-0001-00-001053 | 1 | Seal | KQFGL-18 | No,s | 2 | C&C Warehouse, Depot
48 | 310-0001-00-001054 | 2 | Seal | KQFGL-14 | No,s | 16 | C&C Warehouse, Depot
49 | 310-0001-00-001055 | 3 | Seal | KQMG 1/35 | No,s | 8 | C&C Warehouse, Depot
|  | 6 | Cooling Tower |  |  | - | C&C Warehouse, Depot
50 | 310-0001-03-001056 | 6.1 | Motor and Bearing | 125 m3 | No,s | 1 | C&C Warehouse, Depot
51 | 310-0001-03-001057 | 6.2 | Motor and Bearing | 300 m3 | No,s | 2 | C&C Warehouse, Depot
52 | 310-0001-03-001058 | 6.3 | Decelator and Bearing |  | No,s | 2 | C&C Warehouse, Depot
53 | 310-0001-03-001059 | 6.4 | Fan | 300 m3 | No,s | 2 | C&C Warehouse, Depot
54 | 310-0001-03-001060 | 6.5 | Fan | 125 m3 | No,s | 1 | C&C Warehouse, Depot
55 | 310-0001-03-001061 | 6.6 | Filling (Green Sheet) |  | MTR | 6 | C&C Warehouse, Depot
56 | 310-0001-03-001062 | 6.7 | Ball Float |  | No,s | 3 | C&C Warehouse, Depot
57 | 310-0001-03-001063 | 6.8 | Nozzle |  | No,s | 24 | C&C Warehouse, Depot
58 | 310-0001-03-001064 | 6.9 | Belt (V-Belt) |  | No,s | 8 | C&C Warehouse, Depot
59 | 310-0001-03-001065 | 6.10, | Binding Plate for Material Filling |  | No,s | 2 | C&C Warehouse, Depot
|  | 7 | Special Tools (Air Conditioning) |  |  | - | C&C Warehouse, Depot
60 | 310-0001-00-001066 | 7.1 | Flourin Adding Machine | HS-760 | No,s | 1 | C&C Warehouse, Depot
61 | 310-0001-00-001067 | 7.2 | Flourin Collecting Bottle |  | No,s | 1 | C&C Warehouse, Depot
62 | 310-0001-00-001068 | 7.3 | Liquid ading Meter | CH-2685 | No,s | 1 | C&C Warehouse, Depot
63 | 310-0001-00-001069 | 7.4 | Machine Repair Kit | 12.5 mm | No,s | 2 | C&C Warehouse, Depot
64 | 310-0001-00-001070 | 7.5 | Pipe Wrench |  | No,s | 2 | C&C Warehouse, Depot
65 | 310-0001-00-001071 | 7.6 | Electronic Wind Speed Tester | UT361 | No,s | 1 | C&C Warehouse, Depot
66 | 310-0001-00-001072 | 7.7 | Electronic Noise Tester | UT351 | No,s | 1 | C&C Warehouse, Depot
67 | 310-0001-00-001073 | 7.8 | Electronic Micropressure Tester | AR907 | No,s | 1 | C&C Warehouse, Depot
68 | 310-0001-00-001074 | 7.9 | Digit Clip Style Ammeter (Clamp Meter) | UT201 | No,s | 3 | C&C Warehouse, Depot
69 | 310-0001-00-001075 | 7.10, | Standard Pressure Guage | Y100-16 | No,s | 4 | C&C Warehouse, Depot
70 | 310-0001-00-001076 | 7.11 | Standard Pressure Guage | Y100-16 | No,s | 4 | C&C Warehouse, Depot
71 | 310-0001-00-001077 | 7.12 | Mercury Thermometer | .10-50 | No,s | 12 | C&C Warehouse, Depot
72 | 310-0001-00-001078 | 7.13 | Single Phase AC Welding Machine | ZXT-2501 | No,s | 1 | C&C Warehouse, Depot
73 | 310-0001-00-001079 | 7.14 | Bench Vice | 250 mm | No,s | 2 | C&C Warehouse, Depot
|  | 7.15 | Bench Vice |  |  | - | C&C Warehouse, Depot
74 | 310-0001-00-001082 | 1 | Bench Vice | 125 mm | No,s | 1 | C&C Warehouse, Depot
75 | 310-0001-00-001081 | 2 | Bench Vice | 150 mm | No,s | 1 | C&C Warehouse, Depot
76 | 310-0001-00-001080 | 3 | Bench Vice | 200 mm | No,s | 2 | C&C Warehouse, Depot
77 | 310-0001-00-001083 | 7.16 | Bench Drilling Machine | ZQ4119 | No,s | 1 | C&C Warehouse, Depot
78 | 310-0001-00-001084 | 7.17 | Hand Held Electric Drill | JIZ-FF02-6A | No,s | 3 | C&C Warehouse, Depot
79 | 310-0001-00-001085 | 7.18 | Hand Held Electric Drill | GBH2-26E | No,s | 3 | C&C Warehouse, Depot
80 | 310-0001-00-001086 | 7.19 | Electric Impact Drill | TSB-5500 | No,s | 2 | C&C Warehouse, Depot
81 | 310-0001-00-001087 | 7.20, | Electric Impact Drill | GSB20-2 | No,s | 2 | C&C Warehouse, Depot
82 | 310-0001-00-001088 | 7.21 | Electric Grinder | MQ3225 | No,s | 1 | C&C Warehouse, Depot
83 | 310-0001-00-001089 | 7.22 | Electric Section Material Cutting Machine | J1G-FM-355 | No,s | 1 | C&C Warehouse, Depot
84 | 310-0001-00-001090 | 7.23 | Humiture Meter | AR847 | No,s | 1 | C&C Warehouse, Depot
85 | 310-0001-00-001091 | 7.24 | Special Tool for Demounting Tunnel Fans and Motors | OX205D | No,s | 1 | C&C Warehouse, Depot
86 | 310-0001-00-001092 | 7.25 | Pipe Line Leak Tester | XP-1A | No,s | 1 | C&C Warehouse, Depot
87 | 310-0001-00-001093 | 7.26 | Electric Air Valve Electric Controle Valve Portable Box | JSDFD-2000 | No,s | 35 | C&C Warehouse, Depot
88 | 310-0001-00-001094 | 7.27 | Electric Fireproof Valve Portable Box | JSDFD-1000 | No,s | 30 | C&C Warehouse, Depot