## WSD
Sr # | IMIS Codes | BOQ # | WSD & Fire Fighting (Spares Inventory) |  | UOM |  | Location
|  | 1.1 | Fire Pump Accessories |  | LOT
1 | 311-111-01-001002 | 1.1.1 | Sealing Rubber Ring | East Pump | Pcs | 20 | C&C Warehouse, Depot
2 | 311-111-02-001003 | 1.1.2 | Switch 125-Amp | 125-Amp | Pcs | 2 | C&C Warehouse, Depot
3 | 311-111-03-001004 | 1.1.3 | AC Contactor | 75-22 | Pcs | 1 | C&C Warehouse, Depot
4 | 311-111-03-001005 | 1.1.4 | Relay Base |  | Pcs | 20 | C&C Warehouse, Depot
5 | 311-111-04-001006 | 1.1.5 | Switching Power Supply | 25-W, 24-V, 1.1-A | Pcs | 5 | C&C Warehouse, Depot
6 | 311-111-05-001007 | 1.1.6 | Stop Button | Taidian | Pcs | 5 | C&C Warehouse, Depot
7 | 311-111-05-001008 | 1.1.7 | Start Button | Taidian | Pcs | 5 | C&C Warehouse, Depot
8 | 311-111-06-001009 | 1.1.8 | Transformer 12-Volt | Deldci | Pcs | 8 | C&C Warehouse, Depot
9 | 311-111-07-001010 | 1.1.9 | PLC | Siemens | Pcs | 1 | C&C Warehouse, Depot
10 | 311-111-03-001011 | 1.1.10 | Intermediate Relay 24-Volt | 24-V Tengen | Pcs | 5 | C&C Warehouse, Depot
11 | 311-111-03-001012 | 1.1.11 | Intermediate Relay 220-Volt | 220-V Tengen | Pcs | 5 | C&C Warehouse, Depot
12 | 311-111-00-001013 | 1.1.12 | Fuse 10-Amp | 10-Amp | Pcs | 10 | C&C Warehouse, Depot
13 | 311-111-08-001014 | 1.2 | Alarm Valve DN-100 | ZSFZ 100 | Pcs | 2 | C&C Warehouse, Depot
14 | 311-111-00-001116 | 1.3 | Water Flow Indicator DN-150 | ZSJZ 150 | Pcs | 3 | C&C Warehouse, Depot
15 | 311-111-08-001015 | 1.3.1 | Water Flow Indicator DN-100 | ZSJZ 100 | Pcs | 3 | C&C Warehouse, Depot
16 | 311-111-00-001117 | 1.3.2 | Water Flow Indicator DN-80 | ZSJZ 80 | Pcs | 2 | C&C Warehouse, Depot
17 | 311-111-00-001118 | 1.3.3 | Water Flow Indicator DN-65 | ZSJZ 65 | Pcs | 2 | C&C Warehouse, Depot
18 | 311-111-08-001016 | 1.4 | Signal Valve DN-65 | ZSXF-65 | Pcs | 3 | C&C Warehouse, Depot
19 | 311-111-09-001017 | 1.5 | Flygate DN150 / Sluce Valve DN150 | Z41X-16Q | Pcs | 3 | C&C Warehouse, Depot
20 | 311-111-10-001018 | 1.6 | Extinguisher Cylinder Dry Powder (Amonium Phosphate) | MFZ/ABC5D | Pcs | 25 | C&C Warehouse, Depot
21 | 311-111-09-001019 | 1.7 | End Water Test Equipments DN25 | DN25 | Pcs | 10 | C&C Warehouse, Depot
22 | 311-111-09-001020 | 1.8 | Safety Relief Valve DN65 | 500X-16C | Pcs | 2 | C&C Warehouse, Depot
23 | 311-111-09-001021 | 1.9 | Wash Out Valve DN65 | Z45X-16Q | Pcs | 5 | C&C Warehouse, Depot
24 | 311-111-08-001022 | 1.1 | Spray Header DN25 K-80 | K=80 | Pcs | 50 | C&C Warehouse, Depot
25 | 311-111-09-001023 | 1.11 | Hydraulic Ball Float Valve DN50 | F745X-16C | Pcs | 2 | C&C Warehouse, Depot
26 | 311-111-11-001024 | 1.12 | Electric Contact Pressure Guage DN150 | DN150 | Pcs | 2 | C&C Warehouse, Depot
27 | 311-111-11-001025 | 1.13 | Pressure Guage Y-150 | Y-150 | Pcs | 5 | C&C Warehouse, Depot
28 | 311-111-09-001026 | 1.14 | Sluice Valve DN150 | Z41X-16Q | Pcs | 2 | C&C Warehouse, Depot
29 | 311-111-09-001027 | 1.15 | Check Valve DN65 | DN65 | Pcs | 3 | C&C Warehouse, Depot
|  | 1.16 | Fighting Pipes & Accessories |  |  | - | C&C Warehouse, Depot
30 | 311-111-01-001029 | 1.16.1 | "T" DN150 | DN150 | Pcs | 10 | C&C Warehouse, Depot
31 | 311-111-01-001030 | 1.16.2 | Elbow DN150 | DN150 | Pcs | 10 | C&C Warehouse, Depot
32 | 311-111-01-001031 | 1.16.3 | Groove Fitting DN150 | DN150 | Pcs | 20 | C&C Warehouse, Depot
33 | 311-111-01-001032 | 1.16.4 | Elbow DN90 | DN90 | Pcs | 10 | C&C Warehouse, Depot
34 | 311-111-01-001033 | 1.16.5 | Elbow DN40 | DN40 | Pcs | 10 | C&C Warehouse, Depot
35 | 311-111-01-001034 | 1.16.6 | Elbow DN25 | DN25 | Pcs | 10 | C&C Warehouse, Depot
36 | 311-111-01-001035 | 1.16.7 | "T" DN90 | DN90 | Pcs | 10 | C&C Warehouse, Depot
37 | 311-111-01-001036 | 1.16.8 | "T" DN 63 x 32 | DN63 x 32 | Pcs | 10 | C&C Warehouse, Depot
38 | 311-111-01-001037 | 1.16.9 | "T" DN 40 | DN40 | Pcs | 10 | C&C Warehouse, Depot
39 | 311-111-01-001038 | 1.16.10 | Adjustable Joints DN 32 x 25 | DN 32 x 25 | Pcs | 10 | C&C Warehouse, Depot
40 | 311-111-01-001039 | 1.16.11 | Adjustable Joints DN 25 x 15 | DN 25 x 15 | Pcs | 10 | C&C Warehouse, Depot
41 | 311-111-01-001040 | 1.16.12 | Direct Connector DN90 | DN 90 | Pcs | 10 | C&C Warehouse, Depot
42 | 311-111-01-001041 | 1.16.13 | Fighting Pipe DN 150 | DN150 | Pcs | 2 | C&C Warehouse, Depot
43 | 311-111-01-001042 | 1.16.14 | Fighting Pipe DN 100 | DN 100 | Pcs | 2 | C&C Warehouse, Depot
44 | 311-111-01-001043 | 1.16.15 | Fighting Pipe DN 65 | DN 65 | Pcs | 2 | C&C Warehouse, Depot
45 | 311-111-01-001044 | 1.16.16 | Fighting Pipe DN 50 | DN 50 | Pcs | 2 | C&C Warehouse, Depot
46 | 311-111-01-001045 | 1.16.17 | Fighting Pipe DN 40 | DN 40 | Pcs | 2 | C&C Warehouse, Depot
47 | 311-111-01-001046 | 1.16.18 | Fighting Pipe DN 32 | DN 32 | Pcs | 2 | C&C Warehouse, Depot
|  | 1.17 | Fighting Pipes & Accessories |  |  | - | C&C Warehouse, Depot
48 | 311-111-12-001048 | 1.17.1 | Cutting Machine | B-2 | Pcs | 1 | C&C Warehouse, Depot
49 | 311-111-00-001049 | 1.17.2 | China Pipe Wrench 4" | 4" | Pcs | 1 | C&C Warehouse, Depot
50 | 311-111-13-001050 | 1.17.3 | Pipe Wrench 900 mm | 900 mm | Pcs | 2 | C&C Warehouse, Depot
51 | 311-111-14-001051 | 1.17.4 | Socket Wrench 12.5 mm | 12.5 mm | Pcs | 2 | C&C Warehouse, Depot
|  | 2 | Water Supply & Drainage Spare Parts |  |  | - | C&C Warehouse, Depot
|  | 2.1 | Accessories |  | Lot | - | C&C Warehouse, Depot
52 | 311-111-00-001108 | 2.1.1 | Frequency Converter (1.5-KW) | ACS 510 (ABB) | Pcs | 1 | C&C Warehouse, Depot
53 | 311-111-00-001109 | 2.1.2 | Machinery Seal |  | Pcs | 4 | C&C Warehouse, Depot
54 | 311-111-00-001110 | 2.1.3 | Machinery Seal (0.75 KW) |  | Pcs | 2 | C&C Warehouse, Depot
55 | 311-111-00-001111 | 2.1.4 | Machinery Seal (1.5 KW) |  | Pcs | 4 | C&C Warehouse, Depot
56 | 311-111-00-001112 | 2.1.5 | Machinery Seal (7.5 KW) |  | Pcs | 3 | C&C Warehouse, Depot
57 | 311-111-00-001113 | 2.1.6 | Sewage Lifting Equipment Spare Parts |  | Pcs | 2 | C&C Warehouse, Depot
58 | 311-111-00-001114 | 2.1.7 | Stop Button |  | Pcs | 5 | C&C Warehouse, Depot
59 | 311-111-00-001115 | 2.1.8 | Start Button |  | Pcs | 5 | C&C Warehouse, Depot
60 | 311-111-15-001053 | 2.3 | Hand Basin | W5123 | Pcs | 3 | C&C Warehouse, Depot
61 | 311-111-15-001054 | 2.4 | Slop Sink West Bank | W0415 | Pcs | - | C&C Warehouse, Depot
62 | 311-111-15-001055 | 2.5 | Disabled Toilet Seat | W1001 A05T/FYQ | Pcs | 1 | C&C Warehouse, Depot
63 | 311-111-15-001056 | 2.6 | Squatting Stool Pan (W.C) | W09890500QB | Pcs | 10 | C&C Warehouse, Depot
64 | 311-0002-00-000201 | 2.6 A | Flushing Tank |  | Pcs | 2 | C&C Warehouse, Depot
65 | 311-111-15-001057 | 2.7 | Tap | Dongpeng | Pcs | 20 | C&C Warehouse, Depot
66 | 311-111-15-001058 | 2.8 | Automatic Air Valve DN 15 | DN 15 | Pcs | 10 | C&C Warehouse, Depot
67 | 311-111-09-001059 | 2.9 | Cut Off Valve DN 40 | DN 40 | Pcs | 15 | C&C Warehouse, Depot
68 | 311-111-09-001060 | 2.1 | Cut Off Valve DN 32 | DN 32 | Pcs | 15 | C&C Warehouse, Depot
69 | 311-111-09-001061 | 2.11 | Cut Off Valve DN 25 | DN 25 | Pcs | 15 | C&C Warehouse, Depot
70 | 311-111-09-001062 | 2.12 | Slow Closure Check Valve DN 80 | XC41X-10C | Pcs | 10 | C&C Warehouse, Depot
71 | 311-111-09-001063 | 2.13 | Hydraulic Ball Float Valve DN 25 | F745X-16C | Pcs | 3 | C&C Warehouse, Depot
72 | 311-111-09-001064 | 2.14 | Floor Drain DN 50 | DN 50 | Pcs | 16 | C&C Warehouse, Depot
73 | 311-0001-09-001119 | 2.14.1 | Floor Drain DN 100 | DN 100 | Pcs | 1 | C&C Warehouse, Depot
74 | 311-111-09-001065 | 2.15 | Flexible Rubber Joint DN 80 | DN 80 | Pcs | 10 | C&C Warehouse, Depot
75 | 311-111-16-001066 | 2.16 | Metal Bellow DN 150 | DN 150 | Pcs | 15 | C&C Warehouse, Depot
76 | 311-111-16-001067 | 2.17 | Expansion Joint | DE 110 | Pcs | 30 | C&C Warehouse, Depot
77 | 311-111-16-001068 | 2.18 | Bath Trap De 110 | DE 110 | Pcs | 15 | C&C Warehouse, Depot
|  | 2.19 | Water Supply & Drainage Accessories |  | Lot | - | C&C Warehouse, Depot
78 | 311-0001-16-001070 | 2.19.1 | Drainage Pipe DN 110 | DN 110 | Pcs | 5 | C&C Warehouse, Depot
79 | 311-0001-16-001071 | 2.19.2 | Elbow De 110 x 45 | DE 110 x 45 | Pcs | 10 | C&C Warehouse, Depot
80 | 311-0001-16-001072 | 2.19.3 | Elbow De 75 x 90 | DE 75 x 90 | Pcs | 10 | C&C Warehouse, Depot
81 | 311-0001-16-001073 | 2.19.4 | "T" De 110 | DE 110 | Pcs | 10 | C&C Warehouse, Depot
82 | 311-0001-16-001074 | 2.19.5 | "T" De 75 | DE 75 | Pcs | 10 | C&C Warehouse, Depot
83 | 311-0001-16-001075 | 2.19.6 | "T" De 110 x 75 | DE 110 x 75 | Pcs | 10 | C&C Warehouse, Depot
84 | 311-0001-16-001076 | 2.19.7 | "T" De 110 x 50 | DE 110 x 50 | Pcs | 10 | C&C Warehouse, Depot
85 | 311-0001-16-001077 | 2.19.8 | Pipe Hoop De 110 | DE 110 | Pcs | 10 | C&C Warehouse, Depot
86 | 311-0001-16-001078 | 2.19.9 | Water Supply Pipe De 75 | DE 75 | Pcs | 4 | C&C Warehouse, Depot
87 | 311-0001-16-001079 | 2.19.10 | Water Supply Pipe De 63 | DE 63 | Pcs | 4 | C&C Warehouse, Depot
88 | 311-0001-16-001080 | 2.19.11 | Water Supply Pipe De 50 | DE 50 | Pcs | 4 | C&C Warehouse, Depot
89 | 311-0001-16-001081 | 2.19.12 | Water Supply Pipe De 40 | DE 40 | Pcs | 4 | C&C Warehouse, Depot
90 | 311-0001-16-001082 | 2.19.13 | Water Supply Pipe De 32 | DE 32 | Pcs | 4 | C&C Warehouse, Depot
91 | 311-0001-16-001083 | 2.19.14 | Water Supply Pipe De 25 | DE 25 | Pcs | 4 | C&C Warehouse, Depot
92 | 311-0001-16-001084 | 2.19.15 | Male Thread Directly De 75 x 50 | DE 75 x 50 | Pcs | 10 | C&C Warehouse, Depot
93 | 311-0001-16-001085 | 2.19.16 | Internal Thread Directly De 40 x 32 | DE 40 x 32 | Pcs | 10 | C&C Warehouse, Depot
94 | 311-0001-16-001086 | 2.19.17 | Male Thread Directly De 40 x 32 | DE 40 x 32 | Pcs | 10 | C&C Warehouse, Depot
95 | 311-0001-16-001087 | 2.19.18 | Male Thread Directly De 25 | DE 25 | Pcs | 10 | C&C Warehouse, Depot
96 | 311-0001-16-001088 | 2.19.19 | Elbow De 90 x 90 | DE 90 x 90 | Pcs | 10 | C&C Warehouse, Depot
97 | 311-0001-16-001089 | 2.19.20 | Elbow De 75 x 90 | DE 75 x 90 | Pcs | 10 | C&C Warehouse, Depot
98 | 311-0001-16-001090 | 2.19.21 | Elbow De 63 x 90 | DE 63 x 90 | Pcs | 10 | C&C Warehouse, Depot
99 | 311-0001-16-001091 | 2.19.22 | Elbow De 40 x 25 | DE 40 x 25 | Pcs | 10 | C&C Warehouse, Depot
100 | 311-0001-16-001092 | 2.19.23 | Tee De 75 | DE 75 | Pcs | 10 | C&C Warehouse, Depot
101 | 311-0001-16-001093 | 2.19.24 | Tee De 63 | DE 63 | Pcs | 10 | C&C Warehouse, Depot
102 | 311-0001-16-001094 | 2.19.25 | Tee De 32 | DE 32 | Pcs | 10 | C&C Warehouse, Depot
103 | 311-0001-16-001095 | 2.19.26 | Tee De 25 | DE 25 | Pcs | 10 | C&C Warehouse, Depot
104 | 311-0001-16-001096 | 2.19.27 | Tee De 50 x 25 | DE 50 x 25 | Pcs | 10 | C&C Warehouse, Depot
105 | 311-0001-16-001097 | 2.19.28 | Tee De 63 x 32 | DE 63 x 32 | Pcs | 10 | C&C Warehouse, Depot
106 | 311-0001-16-001098 | 2.19.29 | Tee De 75 x 32 | DE 75 x 32 | Pcs | 10 | C&C Warehouse, Depot
107 | 311-0001-16-001099 | 2.19.30 | Tee De 32 x 1/2" | DE 32 | Pcs | 10 | C&C Warehouse, Depot
108 | 311-0001-16-001100 | 2.19.31 | Adjustable Joints De 75 x 63 | DE 75 x 63 | Pcs | 10 | C&C Warehouse, Depot
109 | 311-0001-16-001101 | 2.19.32 | Pipe Hoop De 63 | DE 63 | Pcs | 10 | C&C Warehouse, Depot
110 | 311-0001-16-001102 | 2.19.33 | Pipe Hoop De 50 | DE 50 | Pcs | 10 | C&C Warehouse, Depot
111 | 311-0001-16-001103 | 2.19.34 | Pipe Hoop De 40 | DE 40 | Pcs | 10 | C&C Warehouse, Depot
112 | 311-0001-16-001104 | 2.19.35 | Pipe Hoop De 25 | DE 25 | Pcs | 10 | C&C Warehouse, Depot
|  | 2.2 | Water Supply & Drainage Special Tools |  | LOT | - | C&C Warehouse, Depot
113 | 311-0001-00-001106 | 2.20.1 | Hot Melt Welding Machine (PPR) | 75 - 110 mm | Set | 1 | C&C Warehouse, Depot
114 | 311-0001-00-001107 | 2.20.2 | Hot Melt Welding Machine (PE) | 50 - 150 mm | Set | 1 | C&C Warehouse, Depot